## Frontpage
Software Design Specification Document SDS13548 - List of defined Z-Wave Command Classes. This document lists the existing Command Classes, commands and their associated metadata.
DOCUMENTATION DISCLAIMER
Trademark Notice
Z-Wave Alliance, Inc.
License Restrictions Warranty/Consequential Damages Disclaimer
This document is the property of the Z-Wave Alliance. The data contained herein, in whole or in part, may not be duplicated, used or disclosed outside the recipient for any purpose. This restriction does not limit the recipient's right to use information contained in the data if it is obtained from another source without restriction.

## Change
Revision Record
Doc. Revision | Change by | Date | Comment
1 | Nicolas Obriot | 2016-12-10 | Initial revision.
2 | Nicolas Obriot | 2017-04-05 | Updated Multilevel Sensor CC to version 11 Added the last update column and added data according to Open Review 2017A Added links to local specification files
3 | Nicolas Obriot | 2017-07-05 | Moved IP Association and Z/IP Naming and location to the Management category Updated Last Update column after the 2017B Open Review
4 | Nicolas Obriot | 2017-10-02 | Updated after the 2017C Open Review
5 | Nicolas Obriot | 2018-01-11 | Updated after the 2017D Open Review Added sheet for Commands and their type (controlling/supporting)
6 | Brian Rasmussen | 2018-03-05 | Added Silicon Labs template
7 | Nicolas Obriot | 2018-04-05 | Updated after the 2018A Open Review Moved Indicator Command Class to the Management category
8 | Nicolas Obriot | 2018-07-05 | Updated for the 2018C release
9 | Dereje Wassie | 2018-10-05 | Updated for the 2018D release
10 | Nicolas Obriot | 2019-01-01 | Changed document links to point at Silabs.com Updated for the 2019A release
11 | Nicolas Obriot | 2019-01-04 | Updated for the 2019B release Added IR Repeater Command Class Added Authentication and Authentication Media Write Command Class
12 | Dereje Wassie | 2019-01-07 | Updated for the 2019C release Added Generic Schedule Command Class
13 | Dereje Wassie | 2019-01-10 | Updated for the 2019D release
14 | Dereje Wassie | 2020-01-01 | Updated for the 2020A release Added Anti-theft Unlock Command Class
15 | Nicolas Obriot | 2020-07-01 | Updated for the 2020B release
16 | Nicolas Obriot | 2020-10-01 | Updated for the 2020C release
17 | Nicolas Obriot | 2021-04-13 | Updated for the 2021A release
18 | Nicolas Obriot | 2021-08-26 | Updated for the 2021B/C releases
19 | Nicolas Obriot | 2022-05-17 | Updated for the 2022A release

## Command Class
Command Class name | Identifier | Category | status | value | Latest version | Last update | Control Spec. | Additional comments
No Operation Command Class | COMMAND_CLASS_NO_OPERATION | Network-Protocol | Active | 0x00 | 1 | - | No | -
Basic Command Class | COMMAND_CLASS_BASIC | Application | Active | 0x20 | 2 | 2016-04-01 | Yes | -
Controller Replication Command Class | COMMAND_CLASS_CONTROLLER_REPLICATION | Application | Active | 0x21 | 1 | - | No | -
Application Status Command Class | COMMAND_CLASS_APPLICATION_STATUS | Management | Active | 0x22 | 1 | 2017-10-01 | No | This Command Class MUST always be in the NIF if supported
Z/IP Command Class | COMMAND_CLASS_ZIP | Network-Protocol | Active | 0x23 | 5 | 2021-01-01 | No | -
Binary Switch Command Class | COMMAND_CLASS_SWITCH_BINARY | Application | Active | 0x25 | 2 | 2020-01-01 | Yes | -
Multilevel Switch Command Class | COMMAND_CLASS_SWITCH_MULTILEVEL | Application | Active | 0x26 | 4 | - | No | -
All Switch Command Class | COMMAND_CLASS_SWITCH_ALL | Application | Obsoleted | 0x27 | 1 | 2017-04-01 | No | -
Binary Toggle Switch Command Class | COMMAND_CLASS_SWITCH_TOGGLE_BINARY | Application | Obsoleted | 0x28 | 1 | 2017-04-01 | No | -
Multilevel Toggle Switch Command Class | COMMAND_CLASS_SWITCH_TOGGLE_MULTILEVEL | Application | Deprecated | 0x29 | 1 | - | No | -
Scene Activation Command Class | COMMAND_CLASS_SCENE_ACTIVATION | Application | Active | 0x2B | 1 | 2017-10-01 | No | -
Scene Actuator Configuration Command Class | COMMAND_CLASS_SCENE_ACTUATOR_CONF | Application | Active | 0x2C | 1 | 2017-10-01 | No | -
Scene Controller Configuration Command Class | COMMAND_CLASS_SCENE_CONTROLLER_CONF | Application | Active | 0x2D | 1 | 2017-10-01 | No | -
Binary Sensor Command Class | COMMAND_CLASS_SENSOR_BINARY | Application | Deprecated | 0x30 | 2 | - | No | -
Multilevel Sensor Command Class | COMMAND_CLASS_SENSOR_MULTILEVEL | Application | Active | 0x31 | 11 | 2020-10-01 | Yes | -
Meter Command Class | COMMAND_CLASS_METER | Application | Active | 0x32 | 6 | 2020-10-01 | Yes | -
Color Switch Command Class | COMMAND_CLASS_SWITCH_COLOR | Application | Active | 0x33 | 3 | 2018-01-01 | Yes | -
Network Management Inclusion Command Class | COMMAND_CLASS_NETWORK_MANAGEMENT_INCLUSION | Network-Protocol | Active | 0x34 | 4 | 2020-10-01 | No | -
Pulse Meter Command Class | COMMAND_CLASS_METER_PULSE | Application | Deprecated | 0x35 | 1 | - | No | -
Basic Tariff Information Command Class | COMMAND_CLASS_BASIC_TARIFF_INFO | Application | Active | 0x36 | 1 | - | No | -
HRV Status Command Class | COMMAND_CLASS_HRV_STATUS | Application | Active | 0x37 | 1 | - | No | -
HRV Control Command Class | COMMAND_CLASS_HRV_CONTROL | Application | Active | 0x39 | 1 | - | No | -
Demand Control Plan Configuration Command Class | COMMAND_CLASS_DCP_CONFIG | Application | Active | 0x3A | 1 | - | No | -
Demand Control Plan Monitor Command Class | COMMAND_CLASS_DCP_MONITOR | Application | Active | 0x3B | 1 | - | No | -
Meter Table Configuration Command Class | COMMAND_CLASS_METER_TBL_CONFIG | Application | Active | 0x3C | 1 | - | No | -
Meter Table Monitor Command Class | COMMAND_CLASS_METER_TBL_MONITOR | Application | Active | 0x3D | 3 | 2018-04-01 | No | -
Meter Table Push Configuration Command Class | COMMAND_CLASS_METER_TBL_PUSH | Application | Active | 0x3E | 1 | - | No | -
Prepayment Command Class | COMMAND_CLASS_PREPAYMENT | Application | Active | 0x3F | 1 | - | No | -
Thermostat Mode Command Class | COMMAND_CLASS_THERMOSTAT_MODE | Application | Active | 0x40 | 3 | 2018-07-01 | Yes | -
Prepayment Encapsulation Command Class | COMMAND_CLASS_PREPAYMENT_ENCAPSULATION | Application | Active | 0x41 | 1 | - | No | -
Thermostat Operating State Command Class | COMMAND_CLASS_THERMOSTAT_OPERATING_STATE | Application | Active | 0x42 | 2 | - | No | -
Thermostat Setpoint Command Class | COMMAND_CLASS_THERMOSTAT_SETPOINT | Application | Active | 0x43 | 3 | 2019-01-01 | Yes | -
Thermostat Fan Mode Command Class | COMMAND_CLASS_THERMOSTAT_FAN_MODE | Application | Active | 0x44 | 5 | 2019-04-01 | No | -
Thermostat Fan State Command Class | COMMAND_CLASS_THERMOSTAT_FAN_STATE | Application | Active | 0x45 | 2 | - | No | -
Climate Control Schedule Command Class | COMMAND_CLASS_CLIMATE_CONTROL_SCHEDULE | Application | Deprecated | 0x46 | 1 | - | No | -
Thermostat Setback Command Class | COMMAND_CLASS_THERMOSTAT_SETBACK | Application | Active | 0x47 | 1 | - | Yes | -
Rate Table Configuration Command Class | COMMAND_CLASS_RATE_TBL_CONFIG | Application | Active | 0x48 | 1 | - | No | -
Rate Table Monitor Command Class | COMMAND_CLASS_RATE_TBL_MONITOR | Application | Active | 0x49 | 1 | - | No | -
Tariff Table Configuration Command Class | COMMAND_CLASS_TARIFF_CONFIG | Application | Active | 0x4A | 1 | - | No | -
Tariff Table Monitor Command Class | COMMAND_CLASS_TARIFF_TBL_MONITOR | Application | Active | 0x4B | 1 | - | No | -
Door Lock Logging Command Class | COMMAND_CLASS_DOOR_LOCK_LOGGING | Application | Active | 0x4C | 1 | - | No | -
Network Management Basic Node Command Class | COMMAND_CLASS_NETWORK_MANAGEMENT_BASIC | Network-Protocol | Active | 0x4D | 2 | 2018-01-01 | No | -
Schedule Entry Lock Command Class | COMMAND_CLASS_SCHEDULE_ENTRY_LOCK | Application | Deprecated | 0x4E | 3 | - | No | -
Z/IP 6LoWPAN Command Class | COMMAND_CLASS_ZIP_6LOWPAN | Network-Protocol | Active | 0x4F | 1 | - | No | -
Basic Window Covering Command Class | COMMAND_CLASS_BASIC_WINDOW_COVERING | Application | Obsoleted | 0x50 | 1 | - | No | -
Move To Position Window Covering Command Class | COMMAND_CLASS_MTP_WINDOW_COVERING | Application | Obsoleted | 0x51 | 1 | - | No | -
Network Management Proxy Command Class | COMMAND_CLASS_NETWORK_MANAGEMENT_PROXY | Network-Protocol | Active | 0x52 | 4 | 2020-10-01 | No | -
Schedule Command Class | COMMAND_CLASS_SCHEDULE | Application | Active | 0x53 | 4 | 2017-04-01 | No | -
Network Management Primary Command Class | COMMAND_CLASS_NETWORK_MANAGEMENT_PRIMARY | Network-Protocol | Obsoleted | 0x54 | 1 | 2017-04-01 | No | -
Transport Service Command Class | COMMAND_CLASS_TRANSPORT_SERVICE | Transport-Encapsulation | Active | 0x55 | 2 | 2016-12-08 | No | This Command Class MUST always be in the NIF if supported
CRC-16 Encapsulation Command Class | COMMAND_CLASS_CRC_16_ENCAP | Transport-Encapsulation | Deprecated | 0x56 | 1 | 2018-01-01 | Yes | This Command Class MUST always be in the NIF if supported
Application Capability Command Class | COMMAND_CLASS_APPLICATION_CAPABILITY | Management | Obsoleted | 0x57 | 1 | 2018-04-01 | No | -
Z/IP ND Command Class | COMMAND_CLASS_ZIP_ND | Network-Protocol | Active | 0x58 | 1 | 2018-01-01 | No | -
Association Group Information (AGI) Command Class | COMMAND_CLASS_ASSOCIATION_GRP_INFO | Management | Active | 0x59 | 3 | 2017-07-01 | Yes | -
Device Reset Locally Command Class | COMMAND_CLASS_DEVICE_RESET_LOCALLY | Management | Active | 0x5A | 1 | 2019-04-01 | Yes | -
Central Scene Command Class | COMMAND_CLASS_CENTRAL_SCENE | Application | Active | 0x5B | 3 | 2019-10-01 | Yes | -
IP Association Command Class | COMMAND_CLASS_IP_ASSOCIATION | Management | Active | 0x5C | 1 | 2017-07-01 | No | -
Anti-theft Command Class | COMMAND_CLASS_ANTITHEFT | Application | Active | 0x5D | 3 | 2020-07-01 | No | -
Z-Wave Plus Info Command Class | COMMAND_CLASS_ZWAVEPLUS_INFO | Management | Active | 0x5E | 2 | 2018-04-01 | No | This Command Class MUST always be in the NIF if supported
Z/IP Gateway Command Class | COMMAND_CLASS_ZIP_GATEWAY | Network-Protocol | Active | 0x5F | 1 | 2018-01-01 | No | -
Multi Channel Command Class | COMMAND_CLASS_MULTI_CHANNEL | Transport-Encapsulation | Active | 0x60 | 4 | 2021-07-01 | Yes | -
Z/IP Portal Command Class | COMMAND_CLASS_ZIP_PORTAL | Network-Protocol | Active | 0x61 | 1 | 2018-01-01 | No | -
Door Lock Command Class | COMMAND_CLASS_DOOR_LOCK | Application | Active | 0x62 | 4 | 2020-10-01 | Yes | -
User Code Command Class | COMMAND_CLASS_USER_CODE | Application | Active | 0x63 | 2 | 2022-01-01 | Yes | -
Humidity Control Setpoint Command Class | COMMAND_CLASS_HUMIDITY_CONTROL_SETPOINT | Application | Active | 0x64 | 2 | 2018-07-01 | No | -
Barrier Operator Command Class | COMMAND_CLASS_BARRIER_OPERATOR | Application | Active | 0x66 | 1 | 2017-07-01 | Yes | -
Network Management Installation and Maintenance Command Class | NETWORK_MANAGEMENT_INSTALLATION_MAINTENANCE | Network-Protocol | Active | 0x67 | 4 | 2021-01-01 | No | -
Z/IP Naming and Location Command Class | COMMAND_CLASS_ZIP_NAMING | Management | Active | 0x68 | 1 | 2017-07-01 | No | -
Mailbox Command Class | COMMAND_CLASS_MAILBOX | Network-Protocol | Active | 0x69 | 2 | 2020-01-01 | No | -
Window Covering Command Class | COMMAND_CLASS_WINDOW_COVERING | Application | Active | 0x6A | 1 | 2020-10-01 | Yes | -
Irrigation Command Class | COMMAND_CLASS_IRRIGATION | Application | Active | 0x6B | 1 | 2017-04-01 | No | -
Supervision Command Class | COMMAND_CLASS_SUPERVISION | Transport-Encapsulation | Active | 0x6C | 2 | 2020-07-01 | Yes | This Command Class MUST always be in the NIF if supported
Humidity Control Mode Command Class | COMMAND_CLASS_HUMIDITY_CONTROL_MODE | Application | Active | 0x6D | 2 | 2019-07-01 | No | -
Humidity Control Operating State Command Class | COMMAND_CLASS_HUMIDITY_CONTROL_OPERATING_STATE | Application | Active | 0x6E | 1 | - | No | -
Entry Control Command Class | COMMAND_CLASS_ENTRY_CONTROL | Application | Active | 0x6F | 1 | - | Yes | -
Configuration Command Class | COMMAND_CLASS_CONFIGURATION | Application | Active | 0x70 | 4 | 2020-01-01 | Yes | -
Alarm Command Class | COMMAND_CLASS_ALARM | Application | Deprecated | 0x71 | 2 | 2017-03-11 | Yes | Alarm has been renamed/overloaded by the Notification Command Class
Notification Command Class | COMMAND_CLASS_NOTIFICATION | Application | Active | 0x71 | 8 | 2020-10-01 | Yes | -
Manufacturer Specific Command Class | COMMAND_CLASS_MANUFACTURER_SPECIFIC | Management | Active | 0x72 | 2 | 2018-04-01 | No | Nodes MUST reply to Manufacturer Specific Get Commands received non-securely if S0 is the highest granted key (CC:0072.01.00.41.004)
Powerlevel Command Class | COMMAND_CLASS_POWERLEVEL | Network-Protocol | Active | 0x73 | 1 | 2017-01-01 | No | -
Inclusion Controller Command Class | COMMAND_CLASS_INCLUSION_CONTROLLER | Network-Protocol | Active | 0x74 | 1 | 2017-07-01 | No | This Command Class MUST always be in the NIF if supported
Protection Command Class | COMMAND_CLASS_PROTECTION | Application | Active | 0x75 | 2 | - | No | -
Lock Command Class | COMMAND_CLASS_LOCK | Application | Deprecated | 0x76 | 1 | - | No | -
Node Naming and Location Command Class | COMMAND_CLASS_NODE_NAMING | Management | Active | 0x77 | 1 | 2017-07-01 | No | -
Node Provisioning Command Class | COMMAND_CLASS_NODE_PROVISIONING | Network-Protocol | Active | 0x78 | 1 | 2018-01-01 | No | -
Sound Switch Command Class | COMMAND_CLASS_SOUND_SWITCH | Application | Active | 0x79 | 2 | 2020-07-01 | Yes
Firmware Update Meta Data Command Class | COMMAND_CLASS_FIRMWARE_UPDATE_MD | Management | Active | 0x7A | 8 | 2022-01-01 | Yes | -
Grouping Name Command Class | COMMAND_CLASS_GROUPING_NAME | Management | Deprecated | 0x7B | 1 | - | No | -
Remote Association Activation Command Class | COMMAND_CLASS_REMOTE_ASSOCIATION_ACTIVATE | Management | Obsoleted | 0x7C | 1 | - | No | -
Remote Association Configuration Command Class | COMMAND_CLASS_REMOTE_ASSOCIATION | Management | Obsoleted | 0x7D | 1 | - | No | -
Anti-theft Unlock Command Class | COMMAND_CLASS_ANTITHEFT_UNLOCK | Application | Active | 0x7E | 1 | 2020-01-01 | Yes | -
Battery Command Class | COMMAND_CLASS_BATTERY | Management | Active | 0x80 | 3 | 2020-01-01 | Yes | -
Clock Command Class | COMMAND_CLASS_CLOCK | Application | Active | 0x81 | 1 | 2020-01-01 | No | -
Hail Command Class | COMMAND_CLASS_HAIL | Management | Obsoleted | 0x82 | 1 | 2017-10-01 | No | -
Wake Up Command Class | COMMAND_CLASS_WAKE_UP | Management | Active | 0x84 | 3 | 2020-01-01 | Yes | -
Association Command Class | COMMAND_CLASS_ASSOCIATION | Management | Active | 0x85 | 3 | 2019-04-01 | Yes | -
Version Command Class | COMMAND_CLASS_VERSION | Management | Active | 0x86 | 3 | 2019-10-01 | Yes | -
Indicator Command Class | COMMAND_CLASS_INDICATOR | Management | Active | 0x87 | 4 | 2020-10-01 | Yes | -
Proprietary Command Class | COMMAND_CLASS_PROPRIETARY | Application | Deprecated | 0x88 | 1 | - | No | -
Language Command Class | COMMAND_CLASS_LANGUAGE | Application | Active | 0x89 | 1 | - | No | -
Time Command Class | COMMAND_CLASS_TIME | Management | Active | 0x8A | 2 | 2017-07-01 | No | This Command Class MUST always be in the NIF if supported
Time Parameters Command Class | COMMAND_CLASS_TIME_PARAMETERS | Management | Active | 0x8B | 2 | 2018-07-01 | No | -
Geographic Location Command Class | COMMAND_CLASS_GEOGRAPHIC_LOCATION | Application | Active | 0x8C | 1 | 2020-01-01 | No | -
Multi Channel Association Command Class | COMMAND_CLASS_MULTI_CHANNEL_ASSOCIATION | Management | Active | 0x8E | 4 | 2019-04-01 | Yes | -
Multi Command Command Class | COMMAND_CLASS_MULTI_CMD | Transport-Encapsulation | Active | 0x8F | 1 | 2017-10-01 | No | This Command Class MUST always be in the NIF if supported
Energy Production Command Class | COMMAND_CLASS_ENERGY_PRODUCTION | Application | Active | 0x90 | 1 | - | No | -
Manufacturer proprietary Command Class | COMMAND_CLASS_MANUFACTURER_PROPRIETARY | Application | Active | 0x91 | 1 | - | No | -
Screen Meta Data Command Class | COMMAND_CLASS_SCREEN_MD | Application | Active | 0x92 | 2 | - | No | -
Screen Attributes Command Class | COMMAND_CLASS_SCREEN_ATTRIBUTES | Application | Active | 0x93 | 2 | - | No | -
Simple AV Control Command Class | COMMAND_CLASS_SIMPLE_AV_CONTROL | Application | Active | 0x94 | 4 | 2017-10-01 | Yes | -
Security 0 Command Class | COMMAND_CLASS_SECURITY | Transport-Encapsulation | Active | 0x98 | 1 | 2020-07-01 | Yes | -
IP Configuration Command Class | COMMAND_CLASS_IP_CONFIGURATION | Management | Obsoleted | 0x9A | 1 | 2016-04-01 | No | -
Association Command Configuration Command Class | COMMAND_CLASS_ASSOCIATION_COMMAND_CONFIGURATION | Management | Active | 0x9B | 1 | - | No | -
Alarm Sensor Command Class | COMMAND_CLASS_SENSOR_ALARM | Application | Deprecated | 0x9C | 1 | 2016-04-01 | No | -
Alarm Silence Command Class | COMMAND_CLASS_SILENCE_ALARM | Application | Active | 0x9D | 1 | - | No | -
Sensor Configuration Command Class | COMMAND_CLASS_SENSOR_CONFIGURATION | Application | Obsoleted | 0x9E | 1 | 2016-07-01 | No | -
Security 2 Command Class | COMMAND_CLASS_SECURITY_2 | Transport-Encapsulation | Active | 0x9F | 1 | 2020-10-01 | Yes | This Command Class MUST always be in the NIF if supported
IR Repeater Command Class | COMMAND_CLASS_IR_REPEATER | Application | Active | 0xA0 | 1 | 2019-04-01 | Yes | -
Authentication Command Class | COMMAND_CLASS_AUTHENTICATION | Application | Active | 0xA1 | 1 | 2020-07-01 | No | -
Authentication Media Write Command Class | COMMAND_CLASS_AUTHENTICATION_MEDIA_WRITE | Application | Active | 0xA2 | 1 | 2019-04-01 | No | -
Generic Schedule Command Class | COMMAND_CLASS_GENERIC_SCHEDULE | Application | Active | 0xA3 | 1 | 2019-07-01 | No
Mark (Support/Control Mark) | COMMAND_CLASS_MARK | N/A | Active | 0xEF | N/A | - | N/A | This marker is not an actual Command Class
Security Mark (Unsecure/Secure Mark) | COMMAND_CLASS_SECURITY_SCHEME0_MARK | N/A | Active | 0xF100 | N/A | - | N/A | This marker is not an actual Command Class

## Commands
Command Class | Command | Identifier | value | sending node is | receiving node is | Additional comments
Alarm Command Class | Alarm Get | ALARM_GET | 0x04 | controlling | supporting | -
| Alarm Report | ALARM_REPORT | 0x05 | supporting | controlling | -
| Alarm Set | ALARM_SET | 0x06 | controlling | supporting | -
| Alarm Type Supported Get | ALARM_TYPE_SUPPORTED_GET | 0x07 | controlling | supporting | -
| Alarm Type Supported Report | ALARM_TYPE_SUPPORTED_REPORT | 0x08 | supporting | controlling | -
Alarm Sensor Command Class | Alarm Sensor Get | SENSOR_ALARM_GET | 0x01 | controlling | supporting | -
| Alarm Sensor Report | SENSOR_ALARM_REPORT | 0x02 | supporting | controlling | -
| Alarm Sensor Supported Get | SENSOR_ALARM_SUPPORTED_GET | 0x03 | controlling | supporting | -
| Alarm Sensor Supported Report | SENSOR_ALARM_SUPPORTED_REPORT | 0x04 | supporting | controlling | -
Alarm Silence Command Class | Alarm Silence Set | SENSOR_ALARM_SET | 0x01 | controlling | supporting | -
All Switch Command Class | All Switch Set | SWITCH_ALL_SET | 0x01 | controlling | supporting | -
| All Switch Get | SWITCH_ALL_GET | 0x02 | controlling | supporting | -
| All Switch Report | SWITCH_ALL_REPORT | 0x03 | supporting | controlling | -
| All Switch On | SWITCH_ALL_ON | 0x04 | controlling | supporting | -
| All Switch Off | SWITCH_ALL_OFF | 0x05 | controlling | supporting | -
Anti-theft Command Class | Anti-theft Set | ANTITHEFT_SET | 0x01 | controlling | supporting | -
| Anti-theft Get | ANTITHEFT_GET | 0x02 | controlling | supporting | -
| Anti-theft Report | ANTITHEFT_REPORT | 0x03 | supporting | controlling | -
Anti-theft Unlock Command Class | Anti-theft Unlock State Get | COMMAND_ANTITHEFT_UNLOCK_STATE_GET | 0x01 | controlling | supporting | -
| Anti-theft Unlock State Report | COMMAND_ANTITHEFT_UNLOCK_STATE_REPORT | 0x02 | supporting | controlling | -
| Anti-theft Unlock Set | COMMAND_ANTITHEFT_UNLOCK_SET | 0x03 | controlling | supporting | -
Application Capability Command Class | Not Supported Command Class | COMMAND_COMMAND_CLASS_NOT_SUPPORTED | 0x01 | supporting | controlling | -
Application Status Command Class | Application Busy | APPLICATION_BUSY | 0x01 | supporting | controlling | -
| Application Rejected Request | APPLICATION_REJECTED_REQUEST | 0x02 | supporting | controlling | -
Association Command Class | Association Set | ASSOCIATION_SET | 0x01 | controlling | supporting | -
| Association Get | ASSOCIATION_GET | 0x02 | controlling | supporting | -
| Association Report | ASSOCIATION_REPORT | 0x03 | supporting | controlling | -
| Association Remove | ASSOCIATION_REMOVE | 0x04 | controlling | supporting | -
| Association Supported Groupings Get | ASSOCIATION_GROUPINGS_GET | 0x05 | controlling | supporting | -
| Association Supported Groupings Report | ASSOCIATION_GROUPINGS_REPORT | 0x06 | supporting | controlling | -
| Association Specific Group Get | ASSOCIATION_SPECIFIC_GROUP_GET | 0x0B | controlling | supporting | -
| Association Specific Group Report | ASSOCIATION_SPECIFIC_GROUP_REPORT | 0x0C | supporting | controlling | -
Association Command Configuration Command Class | Command Records Supported Get | COMMAND_RECORDS_SUPPORTED_GET | 0x01 | controlling | supporting | -
| Command Records Supported Report | COMMAND_RECORDS_SUPPORTED_REPORT | 0x02 | supporting | controlling | -
| Command Configuration Set | COMMAND_CONFIGURATION_SET | 0x03 | controlling | supporting | -
| Command Configuration Get | COMMAND_CONFIGURATION_GET | 0x04 | controlling | supporting | -
| Command Configuration Report | COMMAND_CONFIGURATION_REPORT | 0x05 | supporting | controlling | -
Association Group Information (AGI) Command Class | Association group Name Get | ASSOCIATION_GROUP_NAME_GET | 0x01 | controlling | supporting | -
| Association Group Name Report | ASSOCIATION_GROUP_NAME_REPORT | 0x02 | supporting | controlling | -
| Association Group Info Get | ASSOCIATION_GROUP_INFO_GET | 0x03 | controlling | supporting | -
| Association Group Info Report | ASSOCIATION_GROUP_INFO_REPORT | 0x04 | supporting | controlling | -
| Association group Command List Get | ASSOCIATION_GROUP_COMMAND_LIST_GET | 0x05 | controlling | supporting | -
| Association Group Command List Report | ASSOCIATION_GROUP_COMMAND_LIST_REPORT | 0x06 | supporting | controlling | -
Authentication Commmand Class | Authentication Capability Get | AUTHENTICATION_CAPABILITIES_GET | 0x01 | controlling | supporting | -
| Authentication Capability Report | AUTHENTICATION_CAPABILITIES_REPORT | 0x02 | supporting | controlling | -
| Authentication Data Set | AUTHENTICATION_DATA_SET | 0x03 | controlling | supporting | -
| Authentication Data Get | AUTHENTICATION_DATA_GET | 0x04 | controlling | supporting | -
| Authentication Data Report | AUTHENTICATION_DATA_REPORT | 0x05 | supporting | controlling | -
| Authentication Technologies Combination Set | AUTHENTICATION_TECHNOLOGIES_COMBINATION_SET | 0x06 | controlling | supporting
| Authentication Technologies Combination Get | AUTHENTICATION_TECHNOLOGIES_COMBINATION_GET | 0x07 | controlling | supporting | -
| Authentication Technologies Combination Report | AUTHENTICATION_TECHNOLOGIES_COMBINATION_REPORT | 0x08 | supporting | controlling | -
| Authentication Checksum Get | AUTHENTICATION_CHECKSUM_GET | 0x09 | controlling | supporting | -
| Authentication Checksum Report | AUTHENTICATION_DATA_CHECKSUM_REPORT | 0x0F | supporting | controlling | -
Authentication Media Write Commmand Class | Authentication Media Capability Get | AUTHENTICATION_MEDIA_CAPABILITIES_GET | 0x01 | controlling | supporting | -
| Authentication Media Capability Report | AUTHENTICATION_MEDIA_CAPABILITIES_REPORT | 0x02 | supporting | controlling | -
| Authentication Media Write Start | AUTHENTICATION_MEDIA_WRITE_START | 0x03 | controlling | supporting | -
| Authentication Media Write Stop | AUTHENTICATION_MEDIA_WRITE_STOP | 0x04 | controlling | supporting | -
| Authentication Media Write Status | AUTHENTICATION_MEDIA_WRITE_STATUS | 0x05 | supporting | controlling | -
Barrier Operator Command Class | Barrier Operator Set | BARRIER_OPERATOR_SET | 0x01 | controlling | supporting | -
| Barrier Operator Get | BARRIER_OPERATOR_GET | 0x02 | controlling | supporting | -
| Barrier Operator Report | BARRIER_OPERATOR_REPORT | 0x03 | supporting | controlling | -
| Barrier Operator Get Signaling Capabilities Supported | BARRIER_OPERATOR_SIGNAL_SUPPORTED_GET | 0x04 | controlling | supporting | -
| Barrier Operator Report Event Signaling Capabilities Supported | BARRIER_OPERATOR_SIGNAL_SUPPORTED_REPORT | 0x05 | supporting | controlling | -
| Barrier Operator Event Signal Set | BARRIER_OPERATOR_SIGNAL_SET | 0x06 | controlling | supporting | -
| Barrier Operator Event Signaling Get | BARRIER_OPERATOR_SIGNAL_GET | 0x07 | controlling | supporting | -
| Barrier Operator Event Signaling Report | BARRIER_OPERATOR_SIGNAL_REPORT | 0x08 | supporting | controlling | -
Basic Command Class | Basic Set | BASIC_SET | 0x01 | controlling | supporting | -
| Basic Get | BASIC_GET | 0x02 | controlling | supporting | -
| Basic Report | BASIC_REPORT | 0x03 | supporting | controlling | -
Basic Tariff Information Command Class | Basic Tariff Information Get | BASIC_TARIFF_INFO_GET | 0x01 | controlling | supporting | -
| Basic Tariff Information Report | BASIC_TARIFF_INFO_REPORT | 0x02 | supporting | controlling | -
Basic Window Covering Command Class | Basic Window Covering Start Level Change | BASIC_WINDOW_COVERING_START_LEVEL_CHANGE | 0x01 | controlling | supporting | -
| Basic Window covering Stop Level Change | BASIC_WINDOW_COVERING_STOP_LEVEL_CHANGE | 0x02 | controlling | supporting | -
Battery Command Class | Battery Get | BATTERY_GET | 0x02 | controlling | supporting | -
| Battery Set | BATTERY_REPORT | 0x03 | supporting | controlling | -
| Battery Health Get Command | BATTERY_HEALTH_GET | 0x04 | controlling | supporting
| Battery Health Report Command | BATTERY_HEALTH_REPORT | 0x05 | supporting | controlling
Binary Sensor Command Class | Binary Sensor Get | SENSOR_BINARY_GET | 0x02 | controlling | supporting | -
| Binary Sensor Set | SENSOR_BINARY_REPORT | 0x03 | supporting | controlling | -
| Binary Sensor Get supported Sensor | SENSOR_BINARY_SUPPORTED_GET_SENSOR | 0x01 | controlling | supporting | -
| Binary Sensor Supported Sensor Report | SENSOR_BINARY_SUPPORTED_SENSOR_REPORT | 0x04 | supporting | controlling | -
Binary Switch Command Class | Binary Switch Set | SWITCH_BINARY_SET | 0x01 | controlling | supporting | -
| Binary Switch Get | SWITCH_BINARY_GET | 0x02 | controlling | supporting | -
| Binary Switch Report | SWITCH_BINARY_REPORT | 0x03 | supporting | controlling | -
Binary Toggle Switch Command Class | Binary Toggle Switch Set | SWITCH_TOGGLE_BINARY_SET | 0x01 | controlling | supporting | -
| Binary Toggle Switch Get | SWITCH_TOGGLE_BINARY_GET | 0x02 | controlling | supporting | -
| Binary Toggle Switch Report | SWITCH_TOGGLE_BINARY_REPORT | 0x03 | supporting | controlling | -
Climate Control Schedule Command Class | Schedule Set | SCHEDULE_SET | 0x01 | controlling | supporting | -
| Schedule Get | SCHEDULE_GET | 0x02 | controlling | supporting | -
| Schedule Report | SCHEDULE_REPORT | 0x03 | supporting | controlling | -
| Schedule Changed Get | SCHEDULE_CHANGED_GET | 0x04 | controlling | supporting | -
| Schedule Changed Report | SCHEDULE_CHANGED_REPORT | 0x05 | supporting | controlling | -
| Schedule Override Set | SCHEDULE_OVERRIDE_SET | 0x06 | controlling | supporting | -
| Schedule Override Get | SCHEDULE_OVERRIDE_GET | 0x07 | controlling | supporting | -
| Schedule Override Report | SCHEDULE_OVERRIDE_REPORT | 0x08 | supporting | controlling | -
Central Scene Command Class | Central Scene Supported Get | CENTRAL_SCENE_SUPPORTED_GET | 0x01 | controlling | supporting | -
| Central Scene Supported Report | CENTRAL_SCENE_SUPPORTED_REPORT | 0x02 | supporting | controlling | -
| Central Scene Notification | CENTRAL_SCENE_NOTIFICATION | 0x03 | supporting | controlling | -
| Central Scene Configuration Set | CENTRAL_SCENE_CONFIGURATION_SET | 0x04 | controlling | supporting | -
| Central Scene Configuration Get | CENTRAL_SCENE_CONFIGURATION_GET | 0x05 | controlling | supporting | -
| Central Scene Configuration Report | CENTRAL_SCENE_CONFIGURATION_REPORT | 0x06 | supporting | controlling | -
Clock Command Class | Clock Set | CLOCK_SET | 0x04 | controlling | supporting | -
| Clock Get | CLOCK_GET | 0x05 | controlling | supporting | -
| Clock Report | CLOCK_REPORT | 0x06 | supporting | controlling | -
Color Switch Command Class | Color Switch Supported Get | SWITCH_COLOR_SUPPORTED_GET | 0x01 | controlling | supporting | -
| Color Switch Supported Report | SWITCH_COLOR_SUPPORTED_REPORT | 0x02 | supporting | controlling | -
| Color Switch Get | SWITCH_COLOR_GET | 0x03 | controlling | supporting | -
| Color Switch Report | SWITCH_COLOR_REPORT | 0x04 | supporting | controlling | -
| Color Switch Set | SWITCH_COLOR_SET | 0x05 | controlling | supporting | -
| Color Switch Start Level Change | SWITCH_COLOR_START_LEVEL_CHANGE | 0x06 | controlling | supporting | -
| Color Switch Stop Level Change | SWITCH_COLOR_STOP_LEVEL_CHANGE | 0x07 | controlling | supporting | -
Configuration Command Class | Configuration Set | CONFIGURATION_SET | 0x04 | controlling | supporting | -
| Configuration Get | CONFIGURATION_GET | 0x05 | controlling | supporting | -
| Configuration Report | CONFIGURATION_REPORT | 0x06 | supporting | controlling | -
| Configuration Bulk Set | CONFIGURATION_BULK_SET | 0x07 | controlling | supporting | -
| Configuration Bulk Get | CONFIGURATION_BULK_GET | 0x08 | controlling | supporting | -
| Configuration Bulk Report | CONFIGURATION_BULK_REPORT | 0x09 | supporting | controlling | -
| Configuration Name Get | CONFIGURATION_NAME_GET | 0x0A | controlling | supporting | -
| Configuration Name Report | CONFIGURATION_NAME_REPORT | 0x0B | supporting | controlling | -
| Configuration Info Get | CONFIGURATION_INFO_GET | 0x0C | controlling | supporting | -
| Configuration Info Report | CONFIGURATION_INFO_REPORT | 0x0D | supporting | controlling | -
| Configuration Properties Get | CONFIGURATION_PROPERTIES_GET | 0x0E | controlling | supporting | -
| Configuration Properties Report | CONFIGURATION_PROPERTIES_REPORT | 0x0F | supporting | controlling | -
| Configuration Default Reset | CONFIGURATION_DEFAULT_RESET | 0x01 | controlling | supporting | -
Controller Replication Command Class | Transfer Group | CTRL_REPLICATION_TRANSFER_GROUP | 0x31 | controlling | supporting | -
| Transfer Group Name | CTRL_REPLICATION_TRANSFER_GROUP_NAME | 0x32 | controlling | supporting | -
| Transfer Scene | CTRL_REPLICATION_TRANSFER_SCENE | 0x33 | controlling | supporting | -
| Transfer Scene Name | CTRL_REPLICATION_TRANSFER_SCENE_NAME | 0x34 | controlling | supporting | -
CRC-16 Encapsulation Command Class | CRC-16 Encapsulated | CRC_16_ENCAP | 0x01 | controlling | supporting | -
Demand Control Plan Configuration Command Class | DCP List Supported Get | DCP_LIST_SUPPORTED_GET | 0x01 | controlling | supporting | -
| DCP List Supported report | DCP_LIST_SUPPORTED_REPORT | 0x02 | supporting | controlling | -
| DCP List Set | DCP_LIST_SET | 0x03 | controlling | supporting | -
| DCP List Remove | DCP_LIST_REMOVE | 0x04 | controlling | supporting | -
Demand Control Plan Monitor Command Class | DCP List Get | DCP_LIST_GET | 0x01 | controlling | supporting | -
| DCP List Report | DCP_LIST_REPORT | 0x02 | supporting | controlling | -
| DCP Event Status Get | DCP_EVENT_STATUS_GET | 0x03 | controlling | supporting | -
| DCP Event Status Report | DCP_EVENT_STATUS_REPORT | 0x04 | supporting | controlling | -
Device Reset Locally Command Class | Device Reset Locally Notification | DEVICE_RESET_LOCALLY_NOTIFICATION | 0x01 | supporting | controlling | -
Door Lock Command Class | Door Lock Operation Set | DOOR_LOCK_OPERATION_SET | 0x01 | controlling | supporting | -
| Door Lock Operation Get | DOOR_LOCK_OPERATION_GET | 0x02 | controlling | supporting | -
| Door Lock Operation Report | DOOR_LOCK_OPERATION_REPORT | 0x03 | supporting | controlling | -
| Door Lock Configuration Set | DOOR_LOCK_CONFIGURATION_SET | 0x04 | controlling | supporting | -
| Door Lock Configuration Get | DOOR_LOCK_CONFIGURATION_GET | 0x05 | controlling | supporting | -
| Door Lock Configuration Report | DOOR_LOCK_CONFIGURATION_REPORT | 0x06 | supporting | controlling | -
| Door Lock Capabilities Get | DOOR_LOCK_CAPABILITIES_GET | 0x07 | controlling | supporting | -
| Door Lock Capabilities Report | DOOR_LOCK_CAPABILITIES_REPORT | 0x08 | supporting | controlling | -
Door Lock Logging Command Class | Door Lock Logging Records Supported Get | DOOR_LOCK_LOGGING_RECORDS_SUPPORTED_GET | 0x01 | controlling | supporting | -
| Door Lock Logging Records Supported Report | DOOR_LOCK_LOGGING_RECORDS_SUPPORTED_REPORT | 0x02 | supporting | controlling | -
| Door Lock Logging Record Get | RECORD_GET | 0x03 | controlling | supporting | -
| Door Lock Logging Record Report | RECORD_REPORT | 0x04 | supporting | controlling | -
Energy Production Command Class | Energy Production Get | ENERGY_PRODUCTION_GET | 0x02 | controlling | supporting | -
| Energy Production Report | ENERGY_PRODUCTION_REPORT | 0x03 | supporting | controlling | -
Entry Control Command Class | Entry Control Notification | ENTRY_CONTROL_NOTIFICATION | 0x01 | supporting | controlling | -
| Entry Control Key Supported Get | ENTRY_CONTROL_KEY_SUPPORTED_GET | 0x02 | controlling | supporting | -
| Entry Control Key Supported Report | ENTRY_CONTROL_KEY_SUPPORTED_REPORT | 0x03 | supporting | controlling | -
| Entry Control Event Supported Get | ENTRY_CONTROL_EVENT_SUPPORTED_GET | 0x04 | controlling | supporting | -
| Entry Control Event Supported Report | ENTRY_CONTROL_EVENT_SUPPORTED_REPORT | 0x05 | supporting | controlling | -
| Entry Control Configuration Set | ENTRY_CONTROL_CONFIGURATION_SET | 0x06 | controlling | supporting | -
| Entry Control Configuration Get | ENTRY_CONTROL_CONFIGURATION_GET | 0x07 | controlling | supporting | -
| Entry Control Configuration Report | ENTRY_CONTROL_CONFIGURATION_REPORT | 0x08 | supporting | controlling | -
Firmware Update Meta Data Command Class | Firmware Meta Data Get | FIRMWARE_MD_GET | 0x01 | controlling | supporting | -
| Firmware Meta Data Report | FIRMWARE_MD_REPORT | 0x02 | supporting | controlling | -
| Firmware Update Meta Data Request Get | FIRMWARE_UPDATE_MD_REQUEST_GET | 0x03 | controlling | supporting | -
| Firmware Update Meta Data Request Report | FIRMWARE_UPDATE_MD_REQUEST_REPORT | 0x04 | supporting | controlling | -
| Firmware Update Meta Data Get | FIRMWARE_UPDATE_MD_GET | 0x05 | supporting | controlling | controlling and supporting must be swapped in case of a FW upload
| Firmware Update Meta Data Report | FIRMWARE_UPDATE_MD_REPORT | 0x06 | controlling | supporting | controlling and supporting must be swapped in case of a FW upload
| Firmware Update Meta Data Status Report | FIRMWARE_UPDATE_MD_STATUS_REPORT | 0x07 | supporting | controlling | -
| Firmware Update Activation Set | FIRMWARE_UPDATE_ACTIVATION_SET | 0x08 | controlling | supporting | -
| Firmware Update Activation Report | FIRMWARE_UPDATE_ACTIVATION_STATUS_REPORT | 0x09 | supporting | controlling | -
| Firmware Update Meta Data Prepare Get | FIRMWARE_UPDATE_MD_PREPARE_GET | 0x0A | controlling | supporting | -
| Firmware Update Meta Data Prepare Report | FIRMWARE_UPDATE_MD_PREPARE_REPORT | 0x0B | supporting | controlling | -
Generic Schedule Command Class | Generic Schedule Capabilities Get Command | GENERIC_SCHEDULE_CAPABILITIES_GET | 0x01 | controlling | supporting
| Generic Schedule Capabilities Report Command | GENERIC_SCHEDULE_CAPABILITIES_REPORT | 0x02 | supporting | controlling
| Generic Schedule Time Range Set Command | GENERIC_SCHEDULE_TIME_RANGE_SET | 0x03 | controlling | supporting
| Generic Schedule Time Range Get Command | GENERIC_SCHEDULE_TIME_RANGE_GET | 0x04 | controlling | supporting
| Generic Schedule Time Range Report Command | GENERIC_SCHEDULE_TIME_RANGE_REPORT | 0x05 | supporting | controlling
| Generic Schedule Set Command | GENERIC_SCHEDULE_SET | 0x06 | controlling | supporting
| Generic Schedule Get Command | GENERIC_SCHEDULE_GET | 0x07 | controlling | supporting
| Generic Schedule Report Command | GENERIC_SCHEDULE_REPORT | 0x08 | supporting | controlling
Geographic Location Command Class | Geographic Location Set | GEOGRAPHIC_LOCATION_SET | 0x01 | controlling | supporting | -
| Geographic Location Get | GEOGRAPHIC_LOCATION_GET | 0x02 | controlling | supporting | -
| Geographic Location Report | GEOGRAPHIC_LOCATION_REPORT | 0x03 | supporting | controlling | -
Grouping Name Command Class | Grouping Name Set | GROUPING_NAME_SET | 0x01 | controlling | supporting | -
| Grouping Name Get | GROUPING_NAME_GET | 0x02 | controlling | supporting | -
| Grouping Name Report | GROUPING_NAME_REPORT | 0x03 | supporting | controlling | -
Hail Command Class | Hail | HAIL | 0x01 | supporting | controlling | -
HRV Status Command Class | HRV Status Get | HRV_STATUS_GET | 0x01 | controlling | supporting | -
| HRV Status Report | HRV_STATUS_REPORT | 0x02 | supporting | controlling | -
| HRV Status Supported Get | HRV_STATUS_SUPPORTED_GET | 0x03 | controlling | supporting | -
| HRV Status Supported Report | HRV_STATUS_SUPPORTED_REPORT | 0x04 | supporting | controlling | -
HRV Control Command Class | HRV Mode Set | HRV_CONTROL_MODE_SET | 0x01 | controlling | supporting | -
| HRV Mode Get | HRV_CONTROL_MODE_GET | 0x02 | controlling | supporting | -
| HRV Mode Report | HRV_CONTROL_MODE_REPORT | 0x03 | supporting | controlling | -
| HRV Bypass Set | HRV_CONTROL_BYPASS_SET | 0x04 | controlling | supporting | -
| HRV Bypass Get | HRV_CONTROL_BYPASS_GET | 0x05 | controlling | supporting | -
| HRV Bypass Report | HRV_CONTROL_BYPASS_REPORT | 0x06 | supporting | controlling | -
| HRV Ventilation Rate Set | HRV_CONTROL_VENTILATION_RATE_SET | 0x07 | controlling | supporting | -
| HRV Ventilation Rate Get | HRV_CONTROL_VENTILATION_RATE_GET | 0x08 | controlling | supporting | -
| HRV Ventilation Rate Report | HRV_CONTROL_VENTILATION_RATE_REPORT | 0x09 | supporting | controlling | -
| HRV Mode Supported Get | HRV_CONTROL_MODE_SUPPORTED_GET | 0x0A | controlling | supporting | -
| HRV Mode Supported Report | HRV_CONTROL_MODE_SUPPORTED_REPORT | 0x0B | supporting | controlling | -
Humidity Control Mode Command Class | Humidity Control Mode Set | HUMIDITY_CONTROL_MODE_SET | 0x01 | controlling | supporting | -
| Humidity Control Mode Get | HUMIDITY_CONTROL_MODE_GET | 0x02 | controlling | supporting | -
| Humidity Control Mode Report | HUMIDITY_CONTROL_MODE_REPORT | 0x03 | supporting | controlling | -
| Humidity Control Mode Supported Get | HUMIDITY_CONTROL_MODE_SUPPORTED_GET | 0x04 | controlling | supporting | -
| Humidity Control Mode Supported Report | HUMIDITY_CONTROL_MODE_SUPPORTED_REPORT | 0x05 | supporting | controlling | -
Humidity Control Operating State Command Class | Humidity Control Operating State Get | HUMIDITY_CONTROL_OPERATING_STATE_GET | 0x01 | controlling | supporting | -
| Humidity Control Operating State Report | HUMIDITY_CONTROL_OPERATING_STATE_REPORT | 0x02 | supporting | controlling | -
Humidity Control Setpoint Command Class | Humidity Control Setpoint Set | HUMIDITY_CONTROL_SETPOINT_SET | 0x01 | controlling | supporting | -
| Humidity Control Setpoint Get | HUMIDITY_CONTROL_SETPOINT_GET | 0x02 | controlling | supporting | -
| Humidity Control Setpoint Report | HUMIDITY_CONTROL_SETPOINT_REPORT | 0x03 | supporting | controlling | -
| Humidity Control Setpoint Supported Get | HUMIDITY_CONTROL_SETPOINT_SUPPORTED_GET | 0x04 | controlling | supporting | -
| Humidity Control Setpoint Supported Report | HUMIDITY_CONTROL_SETPOINT_SUPPORTED_REPORT | 0x05 | supporting | controlling | -
| Humidity Control Setpoint Scale Supported Get | HUMIDITY_CONTROL_SETPOINT_SCALE_SUPPORTED_GET | 0x06 | controlling | supporting | -
| Humidity Control Setpoint Scale Supported Report | HUMIDITY_CONTROL_SETPOINT_SCALE_SUPPORTED_REPORT | 0x07 | supporting | controlling | -
| Humidity Control Setpoint Capabilities Get | HUMIDITY_CONTROL_SETPOINT_CAPABILITIES_GET | 0x08 | controlling | supporting | -
| Humidity Control Setpoint Capabilities Report | HUMIDITY_CONTROL_SETPOINT_CAPABILITIES_REPORT | 0x09 | supporting | controlling | -
Inclusion Controller Command Class | Inclusion Controller Initiate | INITIATE | 0x01 | supporting | supporting | Both supporting
| Inclusion Controller Complete | COMPLETE | 0x02 | supporting | supporting | Both supporting
Indicator Command Class | Indicator Set | INDICATOR_SET | 0x01 | controlling | supporting | -
| Indicator Get | INDICATOR_GET | 0x02 | controlling | supporting | -
| Indicator Report | INDICATOR_REPORT | 0x03 | supporting | controlling | -
| Indicator Supported Get | INDICATOR_SUPPORTED_GET | 0x04 | controlling | supporting | -
| Indicator Supported Report | INDICATOR_SUPPORTED_REPORT | 0x05 | supporting | controlling | -
| Indicator description Get | INDICATOR_DESCRIPTION_GET | 0x06 | controlling | supporting | -
| Indicator Description Report | INDICATOR_DESCRIPTION_REPORT | 0x07 | supporting | controlling | -
IP Configuration Command Class | IP Configuration Set | IP_CONFIGURATION_SET | 0x01 | controlling | supporting | -
| IP Configuration Get | IP_CONFIGURATION_GET | 0x02 | controlling | supporting | -
| IP Configuration Report | IP_CONFIGURATION_REPORT | 0x03 | supporting | controlling | -
| IP Configuration DHCP Release | IP_CONFIGURATION_RELEASE | 0x04 | controlling | supporting | -
| IP Configuration DHCP Renew | IP_CONFIGURATION_RENEW | 0x05 | controlling | supporting | -
IR Repeater Command Class | IR Repeater Capabilities Get | IR_REPEATER_CAPABILITIES_GET | 0x01 | controlling | supporting | -
| IR Repeater Capabilities Report | IR_REPEATER_CAPABILITIES_REPORT | 0x02 | supporting | controlling | -
| IR Repeater IR Code Learning Start | IR_REPEATER_IR_CODE_LEARNING_START | 0x03 | controlling | supporting | -
| IR Repeater IR Code Learning Stop | IR_REPEATER_IR_CODE_LEARNING_STOP | 0x04 | controlling | supporting | -
| IR Repeater IR Code Learning Status | IR_REPEATER_IR_CODE_LEARNING_STATUS | 0x05 | supporting | controlling | -
| IR Repeater Learnt IR Code Remove | IR_REPEATER_LEARNT_IR_CODE_REMOVE | 0x06 | controlling | supporting | -
| IR Repeater Learnt IR Code Get | IR_REPEATER_LEARNT_IR_CODE_GET | 0x07 | controlling | supporting | -
| IR Repeater Learnt IR Code Report | IR_REPEATER_LEARNT_IR_CODE_REPORT | 0x08 | supporting | controlling | -
| IR Repeater Learnt IR Code Readback Get | IR_REPEATER_LEARNT_IR_CODE_READBACK_GET | 0x09 | controlling | supporting | -
| IR Repeater Learnt IR Code Readback Report | IR_REPEATER_LEARNT_IR_CODE_READBACK_REPORT | 0x0A | supporting | controlling | -
| IR Repeater Configuration Set | IR_REPEATER_CONFIGURATION_SET | 0x0B | controlling | supporting | -
| IR Repeater Configuration Get | IR_REPEATER_CONFIGURATION_GET | 0x0C | controlling | supporting | -
| IR Repeater Configuration Report | IR_REPEATER_CONFIGURATION_REPORT | 0x0D | supporting | controlling | -
| IR Repeater Repeat Learnt Code | IR_REPEATER_REPEAT_LEARNT_CODE | 0x0E | controlling | supporting | -
| IR Repeater Repeat | IR_REPEATER_REPEAT | 0x0F | controlling | supporting | -
Irrigation Command Class | Irrigation System Info Get | IRRIGATION_SYSTEM_INFO_GET | 0x01 | controlling | supporting | -
| Irrigation System Info Report | IRRIGATION_SYSTEM_INFO_REPORT | 0x02 | supporting | controlling | -
| Irrigation System Status Get | IRRIGATION_SYSTEM_STATUS_GET | 0x03 | controlling | supporting | -
| Irrigation System Status Report | IRRIGATION_SYSTEM_STATUS_REPORT | 0x04 | supporting | controlling | -
| Irrigation System Config Set | IRRIGATION_SYSTEM_CONFIG_SET | 0x05 | controlling | supporting | -
| Irrigation System Config Get | IRRIGATION_SYSTEM_CONFIG_GET | 0x06 | controlling | supporting | -
| Irrigation System Config Report | IRRIGATION_SYSTEM_CONFIG_REPORT | 0x07 | supporting | controlling | -
| Irrigation Valve Info Get | IRRIGATION_VALVE_INFO_GET | 0x08 | controlling | supporting | -
| Irrigation Valve Info Report | IRRIGATION_VALVE_INFO_REPORT | 0x09 | supporting | controlling | -
| Irrigation Valve Config Set | IRRIGATION_VALVE_CONFIG_SET | 0x0A | controlling | supporting | -
| Irrigation Valve Config Get | IRRIGATION_VALVE_CONFIG_GET | 0x0B | controlling | supporting | -
| Irrigation Valve Config Report | IRRIGATION_VALVE_CONFIG_REPORT | 0x0C | supporting | controlling | -
| Irrigation Valve Run | IRRIGATION_VALVE_RUN | 0x0D | controlling | supporting | -
| Irrigation Valve Table Set | IRRIGATION_VALVE_TABLE_SET | 0x0E | controlling | supporting | -
| Irrigation Valve Table Get | IRRIGATION_VALVE_TABLE_GET | 0x0F | controlling | supporting | -
| Irrigation Valve Table Report | IRRIGATION_VALVE_TABLE_REPORT | 0x10 | supporting | controlling | -
| Irrigation Valve Table Run | IRRIGATION_VALVE_TABLE_RUN | 0x11 | controlling | supporting | -
| Irrigation System Shutoff | IRRIGATION_SYSTEM_SHUTOFF | 0x12 | controlling | supporting | -
Language Command Class | Language Set | LANGUAGE_SET | 0x01 | controlling | supporting | -
| Language Get | LANGUAGE_GET | 0x02 | controlling | supporting | -
| Language Report | LANGUAGE_REPORT | 0x03 | supporting | controlling | -
Lock Command Class | Lock Set | LOCK_SET | 0x01 | controlling | supporting | -
| Lock Get | LOCK_GET | 0x02 | controlling | supporting | -
| Lock Report | LOCK_REPORT | 0x03 | supporting | controlling | -
Mailbox Command Class | Mailbox Configuration Get | MAILBOX_CONFIGURATION_GET | 0x01 | controlling | supporting | -
| Mailbox Configuration Set | MAILBOX_CONFIGURATION_SET | 0x02 | controlling | supporting | -
| Mailbox Configuration Report | MAILBOX_CONFIGURATION_REPORT | 0x03 | supporting | controlling | -
| Mailbox Queue | MAILBOX_QUEUE | 0x04 | supporting | supporting | Both supporting
| Mailbox Wake Up Notification | MAILBOX_WAKEUP_NOTIFICATION | 0x05 | supporting | supporting | Both supporting
| Mailbox Failling Node | MAILBOX_NODE_FAILING | 0x06 | supporting | supporting | Both supporting
Manufacturer Specific Command Class | Manufacturer Specific Get | MANUFACTURER_SPECIFIC_GET | 0x04 | controlling | supporting | -
| Manufacturer Specific Report | MANUFACTURER_SPECIFIC_REPORT | 0x05 | supporting | controlling | -
| Device Specific Get | DEVICE_SPECIFIC_GET | 0x06 | controlling | supporting | -
| Device Specific Report | DEVICE_SPECIFIC_REPORT | 0x07 | supporting | controlling | -
Meter Command Class | Meter Get | METER_GET | 0x01 | controlling | supporting | -
| Meter Report | METER_REPORT | 0x02 | supporting | controlling | -
| Meter Supported Get | METER_SUPPORTED_GET | 0x03 | controlling | supporting | -
| Meter Supported Report | METER_SUPPORTED_REPORT | 0x04 | supporting | controlling | -
| Meter Reset | METER_RESET | 0x05 | controlling | supporting | -
Meter Table Configuration Command Class | Meter Table Point Adm Number Set | METER_TBL_TABLE_POINT_ADM_NO_SET | 0x01 | controlling | supporting | -
Meter Table Monitor Command Class | Meter Table Point Adm Number Get | METER_TBL_TABLE_POINT_ADM_NO_GET | 0x01 | controlling | supporting | -
| Meter Table Point Adm Number Report | METER_TBL_TABLE_POINT_ADM_NO_REPORT | 0x02 | supporting | controlling | -
| Meter Table ID Get | METER_TBL_TABLE_ID_GET | 0x03 | controlling | supporting | -
| Meter Table ID Report | METER_TBL_TABLE_ID_REPORT | 0x04 | supporting | controlling | -
| Meter Table Capability Get | METER_TBL_TABLE_CAPABILITY_GET | 0x05 | controlling | supporting | -
| Meter Table Capability Report | METER_TBL_TABLE_CAPABILITY_REPORT | 0x06 | supporting | controlling | -
| Meter Table Status Supported Get | METER_TBL_STATUS_SUPPORTED_GET | 0x07 | controlling | supporting | -
| Meter Table Status Supported Report | METER_TBL_STATUS_SUPPORTED_REPORT | 0x08 | supporting | controlling | -
| Meter Table Status Depth Get | METER_TBL_STATUS_DEPTH_GET | 0x09 | controlling | supporting | -
| Meter Table Status Date Get | METER_TBL_STATUS_DATE_GET | 0x0A | controlling | supporting | -
| Meter Table Status Report | METER_TBL_STATUS_REPORT | 0x0B | supporting | controlling | -
| Meter Table Current Data Get | METER_TBL_CURRENT_DATA_GET | 0x0C | controlling | supporting | -
| Meter Table Current Data Report | METER_TBL_CURRENT_DATA_REPORT | 0x0D | supporting | controlling | -
| Meter Table Historical Data Get | METER_TBL_HISTORICAL_DATA_GET | 0x0E | controlling | supporting | -
| Meter Table Historical Data Report | METER_TBL_HISTORICAL_DATA_REPORT | 0x0F | supporting | controlling | -
Meter Table Push Configuration Command Class | Meter Table Push Configuration Set | METER_TBL_PUSH_CONFIGURATION_SET | 0x01 | controlling | supporting | -
| Meter Table Push Configuration Get | METER_TBL_PUSH_CONFIGURATION_GET | 0x02 | controlling | supporting | -
| Meter Table Push Configuration Report | METER_TBL_PUSH_CONFIGURATION_REPORT | 0x03 | supporting | controlling | -
Move To Position Window Covering Command Class | Move To Position Set | MOVE_TO_POSITION_SET | 0x01 | controlling | supporting | -
| Move To Position Get | MOVE_TO_POSITION_GET | 0x02 | controlling | supporting | -
| Move To Position Report | MOVE_TO_POSITION_REPORT | 0x03 | supporting | controlling | -
Multi Channel Command Class | Multi Channel End Point Get | MULTI_CHANNEL_END_POINT_GET | 0x07 | controlling | supporting | -
| Multi Channel End Point Report | MULTI_CHANNEL_END_POINT_REPORT | 0x08 | supporting | controlling | -
| Multi Channel Capability Get | MULTI_CHANNEL_CAPABILITY_GET | 0x09 | controlling | supporting | -
| Multi Channel Capability Report | MULTI_CHANNEL_CAPABILITY_REPORT | 0x0A | supporting | controlling | -
| Multi Channel End Point Find | MULTI_CHANNEL_END_POINT_FIND | 0x0B | controlling | supporting | -
| Multi Channel End Point Find Report | MULTI_CHANNEL_END_POINT_FIND_REPORT | 0x0C | supporting | controlling | -
| Multi Channel Command Encapsulation | MULTI_CHANNEL_CMD_ENCAP | 0x0D | supporting | controlling | If Destination End Point is set to 0
|  |  |  | controlling | supporting | If Source End Point is set to 0
|  |  |  | supporting | supporting | In all other cases
| Multi Channel Aggregated Members Get | MULTI_CHANNEL_AGGREGATED_MEMBERS_GET | 0x0E | controlling | supporting | -
| Multi Channel Aggregated Members Report | MULTI_CHANNEL_AGGREGATED_MEMBERS_REPORT | 0x0F | supporting | controlling | -
Multi Channel Association Command Class | Multi Channel Association Set | MULTI_CHANNEL_ASSOCIATION_SET | 0x01 | controlling | supporting | -
| Multi Channel Association Get | MULTI_CHANNEL_ASSOCIATION_GET | 0x02 | controlling | supporting | -
| Multi Channel Association Report | MULTI_CHANNEL_ASSOCIATION_REPORT | 0x03 | supporting | controlling | -
| Multi Channel Association Remove | MULTI_CHANNEL_ASSOCIATION_REMOVE | 0x04 | controlling | supporting | -
| Multi Channel Association Groupings Get | MULTI_CHANNEL_ASSOCIATION_GROUPINGS_GET | 0x05 | controlling | supporting | -
| Multi Channel Association Groupings Report | MULTI_CHANNEL_ASSOCIATION_GROUPINGS_REPORT | 0x06 | supporting | controlling | -
Multi Command Command Class | Multi Command Encapsulated | MULTI_CMD_ENCAP | 0x01 | controlling | supporting | -
Multilevel Sensor Command Class | Multilevel Sensor Get Supported Sensor | SENSOR_MULTILEVEL_SUPPORTED_GET_SENSOR | 0x01 | controlling | supporting | -
| Multilevel Sensor Supported Sensor Report | SENSOR_MULTILEVEL_SUPPORTED_SENSOR_REPORT | 0x02 | supporting | controlling | -
| Multilevel Sensor Get Supported Scale | SENSOR_MULTILEVEL_SUPPORTED_GET_SCALE | 0x03 | controlling | supporting | -
| Multilevel Sensor Get | SENSOR_MULTILEVEL_GET | 0x04 | controlling | supporting | -
| Multilevel Sensor Report | SENSOR_MULTILEVEL_REPORT | 0x05 | supporting | controlling | -
| Multilevel Sensor Supported Scale Report | SENSOR_MULTILEVEL_SUPPORTED_SCALE_REPORT | 0x06 | supporting | controlling | -
Multilevel Switch Command Class | Multilevel Switch Set | SWITCH_MULTILEVEL_SET | 0x01 | controlling | supporting | -
| Multilevel Switch Get | SWITCH_MULTILEVEL_GET | 0x02 | controlling | supporting | -
| Multilevel Switch Report | SWITCH_MULTILEVEL_REPORT | 0x03 | supporting | controlling | -
| Multilevel Switch Start Level Change | SWITCH_MULTILEVEL_START_LEVEL_CHANGE | 0x04 | controlling | supporting | -
| Multilevel Switch Stop Level Change | SWITCH_MULTILEVEL_STOP_LEVEL_CHANGE | 0x05 | controlling | supporting | -
| Multilevel Switch Supported Get | SWITCH_MULTILEVEL_SUPPORTED_GET | 0x06 | controlling | supporting | -
| Multilevel Switch Supported Report | SWITCH_MULTILEVEL_SUPPORTED_REPORT | 0x07 | supporting | controlling | -
Multilevel Toggle Switch Command Class | Multilevel Toggle Switch Set | SWITCH_TOGGLE_MULTILEVEL_SET | 0x01 | controlling | supporting | -
| Multilevel Toggle Switch Get | SWITCH_TOGGLE_MULTILEVEL_GET | 0x02 | controlling | supporting | -
| Multilevel Toggle Switch Report | SWITCH_TOGGLE_MULTILEVEL_REPORT | 0x03 | supporting | controlling | -
| Multilevel Toggle Switch Start Level Change | SWITCH_TOGGLE_MULTILEVEL_START_LEVEL_CHANGE | 0x04 | controlling | supporting | -
| Multilevel Toggle Switch Stop Level Change | SWITCH_TOGGLE_MULTILEVEL_STOP_LEVEL_CHANGE | 0x05 | controlling | supporting | -
Network Management Basic Node Command Class | Learn Mode Set | COMMAND_LEARN_MODE_SET | 0x01 | controlling | supporting | -
| Learn Mode Set Status | COMMAND_LEARN_MODE_SET_STATUS | 0x02 | supporting | controlling | -
| Network Update Request | COMMAND_NETWORK_UPDATE_REQUEST | 0x03 | controlling | supporting | -
| Network Update Request Status | COMMAND_NETWORK_UPDATE_REQUEST_STATUS | 0x04 | supporting | controlling | -
| Node Information Send | COMMAND_NODE_INFORMATION_SEND | 0x05 | controlling | supporting | -
| Default Set | COMMAND_DEFAULT_SET | 0x06 | controlling | supporting | -
| Default Set Complete | COMMAND_DEFAULT_SET_COMPLETE | 0x07 | supporting | controlling | -
| DSK Get | COMMAND_DSK_GET | 0x08 | controlling | supporting | -
| DSK Report | COMMAND_DSK_REPORT | 0x09 | supporting | controlling | -
Network Management Inclusion Command Class | Node Add | COMMAND_NODE_ADD | 0x01 | controlling | supporting | -
| Node Add Status | COMMAND_NODE_ADD_STATUS | 0x02 | supporting | controlling | -
| Node Remove | COMMAND_NODE_REMOVE | 0x03 | controlling | supporting | -
| Node Remove Status | COMMAND_NODE_REMOVE_STATUS | 0x04 | supporting | controlling | -
| Failed Node Remove | COMMAND_FAILED_NODE_REMOVE | 0x07 | controlling | supporting | -
| Failed Node Remove Status | COMMAND_FAILED_NODE_REMOVE_STATUS | 0x08 | supporting | controlling | -
| Failed Node Replace | COMMAND_FAILED_NODE_REPLACE | 0x09 | controlling | supporting | -
| Failed Node Replace Status | COMMAND_FAILED_NODE_REPLACE_STATUS | 0x0A | supporting | controlling | -
| Node Neighbor Update Request | COMMAND_NODE_NEIGHBOR_UPDATE_REQUEST | 0x0B | controlling | supporting | -
| Node Neighbor Update Status | COMMAND_NODE_NEIGHBOR_UPDATE_STATUS | 0x0C | supporting | controlling | -
| Return Route Assign | COMMAND_RETURN_ROUTE_ASSIGN | 0x0D | controlling | supporting | -
| Return Route Assign Complete | COMMAND_RETURN_ROUTE_ASSIGN_COMPLETE | 0x0E | supporting | controlling | -
| Return Route Delete | COMMAND_RETURN_ROUTE_DELETE | 0x0F | controlling | supporting | -
| Return Route Delete Complete | COMMAND_RETURN_ROUTE_DELETE_COMPLETE | 0x10 | supporting | controlling | -
| Node Add Keys Report | COMMAND_NODE_ADD_KEYS_REPORT | 0x11 | supporting | controlling | -
| Node Add Keys Set | COMMAND_NODE_ADD_KEYS_SET | 0x12 | controlling | supporting | -
| Node Add DSK Report | COMMAND_NODE_ADD_DSK_REPORT | 0x13 | supporting | controlling | -
| Node Add DSK Set | COMMAND_NODE_ADD_DSK_SET | 0x14 | controlling | supporting | -
| Included Node Information Frame Report | COMMAND_INCLUDED_NIF_REPORT | 0x19 | supporting | controlling | -
| Smart Start Join Started | COMMAND_SMART_START_JOIN_STARTED_REPORT | 0x15 | supporting | controlling | -
| Extended Node Add Status | COMMAND_EXTENDED_NODE_ADD_STATUS | 0x16 | supporting | controlling | -
Network Management Installation and Maintenance Command Class | Last Working Route Set | LAST_WORKING_ROUTE_SET | 0x01 | controlling | supporting | -
| Last Working Route Get | LAST_WORKING_ROUTE_GET | 0x02 | controlling | supporting | -
| Last Working Route Report | LAST_WORKING_ROUTE_REPORT | 0x03 | supporting | controlling | -
| Statistics Get | STATISTICS_GET | 0x04 | controlling | supporting | -
| Statistics Report | STATISTICS_REPORT | 0x05 | supporting | controlling | -
| Statistics Clear | STATISTICS_CLEAR | 0x06 | controlling | supporting | -
| RSSI Get | COMMAND_RSSI_GET | 0x07 | controlling | supporting | -
| RSSI Report | COMMAND_RSSI_REPORT | 0x08 | supporting | controlling | -
| S2 Resynchronization Event Command | S2_RESYNCHRONIZATION_EVENT | 0x09 | supporting | controlling | -
| Extended Statistics Get | EXTENDED_STATISTICS_GET | 0x0B | controlling | supporting | -
| Extended Statistics Report | EXTENDED_STATISTICS_REPORT | 0x0C | supporting | controlling | -
| Z-Wave Long Range Channel Configuration Set | ZWAVE_LR_CHANNEL_CONFIGURATION_SET | 0x0A | controlling | supporting | -
| Z-Wave Long Range Channel Configuration Set | ZWAVE_LR_CHANNEL_CONFIGURATION_GET | 0x0D | controlling | supporting | -
| Z-Wave Long Range Channel Configuration Report | ZWAVE_LR_CHANNEL_CONFIGURATION_REPORT | 0x0E | supporting | controlling | -
Network Management Primary Command Class | Controller Change | COMMAND_CONTROLLER_CHANGE | 0x01 | controlling | supporting | -
| Controller Change Status | COMMAND_CONTROLLER_CHANGE_STATUS | 0x02 | supporting | controlling | -
Network Management Proxy Command Class | Node List Get | COMMAND_NODE_LIST_GET | 0x01 | controlling | supporting | -
| Node List Report | COMMAND_NODE_LIST_REPORT | 0x02 | supporting | controlling | -
| Node List Cached Get | COMMAND_NODE_INFO_CACHED_GET | 0x03 | controlling | supporting | -
| Node List Cached Report | COMMAND_NODE_INFO_CACHED_REPORT | 0x04 | supporting | controlling | -
| Network Management Multi Channel End Point Get | NM_MULTI_CHANNEL_END_POINT_GET | 0x05 | controlling | supporting | -
| Network Management Multi Channel End Point Report | NM_MULTI_CHANNEL_END_POINT_REPORT | 0x06 | supporting | controlling | -
| Network Management Multi Channel Capability Get | NM_MULTI_CHANNEL_CAPABILITY_GET | 0x07 | controlling | supporting | -
| Network Management Multi Channel Capability Report | NM_MULTI_CHANNEL_CAPABILITY_REPORT | 0x08 | supporting | controlling | -
| Network Management Multi Channel Aggregated Members Get | NM_MULTI_CHANNEL_AGGREGATED_MEMBERS_GET | 0x09 | controlling | supporting | -
| Network Management Multi Channel Aggregated Members Report | NM_MULTI_CHANNEL_AGGREGATED_MEMBERS_REPORT | 0x0A | supporting | controlling | -
| Failed Node List Get | COMMAND_FAILED_NODE_LIST_GET | 0x0B | controlling | supporting | -
| Failed Node List Report | COMMAND_FAILED_NODE_LIST_REPORT | 0x0C | supporting | controlling | -
Node Naming and Location Command Class | Node Name Set | NODE_NAMING_NODE_NAME_SET | 0x01 | controlling | supporting | -
| Node Name Get | NODE_NAMING_NODE_NAME_GET | 0x02 | controlling | supporting | -
| Node Name Report | NODE_NAMING_NODE_NAME_REPORT | 0x03 | supporting | controlling | -
| Node Location Set | NODE_NAMING_NODE_LOCATION_SET | 0x04 | controlling | supporting | -
| Node Location Get | NODE_NAMING_NODE_LOCATION_GET | 0x05 | controlling | supporting | -
| Node Location Report | NODE_NAMING_NODE_LOCATION_REPORT | 0x06 | supporting | controlling | -
Node Provisioning Command Class | Node Provisioning Set | COMMAND_NODE_PROVISIONING_SET | 0x01 | controlling | supporting | -
| Node Provisioning Delete | COMMAND_NODE_PROVISIONING_DELETE | 0x02 | controlling | supporting | -
| Node Provisioning Get | COMMAND_NODE_PROVISIONING_GET | 0x05 | controlling | supporting | -
| Node Provisioning Report | COMMAND_NODE_PROVISIONING_REPORT | 0x06 | supporting | controlling | -
| Node Provisioning List Iteration Get | COMMAND_NODE_PROVISIONING_LIST_ITERATION_GET | 0x03 | controlling | supporting | -
| Node Provisioning List Iteration Report | COMMAND_NODE_PROVISIONING_LIST_ITERATION_REPORT | 0x04 | supporting | controlling | -
Notification Command Class | Event Supported Get | EVENT_SUPPORTED_GET | 0x01 | controlling | supporting | -
| Event Supported Report | EVENT_SUPPORTED_REPORT | 0x02 | supporting | controlling | -
| Notification Get | NOTIFICATION_GET | 0x04 | controlling | supporting | -
| Notification Report | NOTIFICATION_REPORT | 0x05 | supporting | controlling | -
| Notification Set | NOTIFICATION_SET | 0x06 | controlling | supporting | -
| Notification Supported Get | NOTIFICATION_SUPPORTED_GET | 0x07 | controlling | supporting | -
| Notification Supported Report | NOTIFICATION_SUPPORTED_REPORT | 0x08 | supporting | controlling | -
Powerlevel Command Class | Powerlevel Set | POWERLEVEL_SET | 0x01 | controlling | supporting | -
| Powerlevel Get | POWERLEVEL_GET | 0x02 | controlling | supporting | -
| Powerlevel Report | POWERLEVEL_REPORT | 0x03 | supporting | controlling | -
| Powerlevel Test Node Set | POWERLEVEL_TEST_NODE_SET | 0x04 | controlling | supporting | -
| Powerlevel Test Node Get | POWERLEVEL_TEST_NODE_GET | 0x05 | controlling | supporting | -
| Powerlevel Test Node Report | POWERLEVEL_TEST_NODE_REPORT | 0x06 | supporting | controlling | -
Prepayment Command Class | Prepayment Balance Get | PREPAYMENT_BALANCE_GET | 0x01 | controlling | supporting | -
| Prepayment Balance Report | PREPAYMENT_BALANCE_REPORT | 0x02 | supporting | controlling | -
| Prepayment Supported Get | PREPAYMENT_SUPPORTED_GET | 0x03 | controlling | supporting | -
| Prepayment Supported Report | PREPAYMENT_SUPPORTED_REPORT | 0x04 | supporting | controlling | -
Prepayment Encapsulation Command Class | Prepayment Encapsulation | CMD_ENCAPSULATION | 0x01 | controlling | supporting | -
Proprietary Command Class | Proprietary Set | PROPRIETARY_SET | 0x01 | controlling | supporting | -
| Proprietary Get | PROPRIETARY_GET | 0x02 | controlling | supporting | -
| Proprietary Report | PROPRIETARY_REPORT | 0x03 | supporting | controlling | -
Protection Command Class | Protection Set | PROTECTION_SET | 0x01 | controlling | supporting | -
| Protection Get | PROTECTION_GET | 0x02 | controlling | supporting | -
| Protection Report | PROTECTION_REPORT | 0x03 | supporting | controlling | -
| Protection Supported Get | PROTECTION_SUPPORTED_GET | 0x04 | controlling | supporting | -
| Protection Supported Report | PROTECTION_SUPPORTED_REPORT | 0x05 | supporting | controlling | -
| Protection Exclusive Control Set | PROTECTION_EC_SET | 0x06 | controlling | supporting | -
| Protection Exclusive Control Get | PROTECTION_EC_GET | 0x07 | controlling | supporting | -
| Protection Exclusive Control Report | PROTECTION_EC_REPORT | 0x08 | supporting | controlling | -
| Protection Timeout Set | PROTECTION_TIMEOUT_SET | 0x09 | controlling | supporting | -
| Protection Timeout Get | PROTECTION_TIMEOUT_GET | 0x0A | controlling | supporting | -
| Protection Timeout Report | PROTECTION_TIMEOUT_REPORT | 0x0B | supporting | controlling | -
Pulse Meter Command Class | Pulse Meter Get | METER_PULSE_GET | 0x04 | controlling | supporting | -
| Pulse Meter Report | METER_PULSE_REPORT | 0x05 | supporting | controlling | -
Rate Table Configuration Command Class | Rate Table Set | RATE_TBL_SET | 0x01 | controlling | supporting | -
| Rate Table Remove | RATE_TBL_REMOVE | 0x02 | controlling | supporting | -
Rate Table Monitor Command Class | Rate Table Supported Get | RATE_TBL_SUPPORTED_GET | 0x01 | controlling | supporting | -
| Rate Table Supported Report | RATE_TBL_SUPPORTED_REPORT | 0x02 | supporting | controlling | -
| Rate Table Get | RATE_TBL_GET | 0x03 | controlling | supporting | -
| Rate Table Report | RATE_TBL_REPORT | 0x04 | supporting | controlling | -
| Rate Table Active Rate Get | RATE_TBL_ACTIVE_RATE_GET | 0x05 | controlling | supporting | -
| Rate Table Active Rate Report | RATE_TBL_ACTIVE_RATE_REPORT | 0x06 | supporting | controlling | -
| Rate Table Current Data Get | RATE_TBL_CURRENT_DATA_GET | 0x07 | controlling | supporting | -
| Rate Table Current Data Report | RATE_TBL_CURRENT_DATA_REPORT | 0x08 | supporting | controlling | -
| Rate Table Historical Data Get | RATE_TBL_HISTORICAL_DATA_GET | 0x09 | controlling | supporting | -
| Rate Table Historical Data Report | RATE_TBL_HISTORICAL_DATA_REPORT | 0x0A | supporting | controlling | -
Remote Association Activation Command Class | Remote Association Activate | REMOTE_ASSOCIATION_ACTIVATE | 0x01 | controlling | supporting | -
Remote Association Configuration Command Class | Remote Association Configuration Set | REMOTE_ASSOCIATION_CONFIGURATION_SET | 0x01 | controlling | supporting | -
| Remote Association Configuration Get | REMOTE_ASSOCIATION_CONFIGURATION_GET | 0x02 | controlling | supporting | -
| Remote Association Configuration Report | REMOTE_ASSOCIATION_CONFIGURATION_REPORT | 0x03 | supporting | controlling | -
Scene Activation Command Class | Scene Activation Set | SCENE_ACTIVATION_SET | 0x01 | controlling | supporting | -
Scene Actuator Configuration Command Class | Scene Actuator Configuration Set | SCENE_ACTUATOR_CONF_SET | 0x01 | controlling | supporting | -
| Scene Actuator Configuration Get | SCENE_ACTUATOR_CONF_GET | 0x02 | controlling | supporting | -
| Scene Actuator Configuration Report | SCENE_ACTUATOR_CONF_REPORT | 0x03 | supporting | controlling | -
Scene Controller Configuration Command Class | Scene Controller Configuration Set | SCENE_CONTROLLER_CONF_SET | 0x01 | controlling | supporting | -
| Scene Controller Configuration Get | SCENE_CONTROLLER_CONF_GET | 0x02 | controlling | supporting | -
| Scene Controller Configuration Report | SCENE_CONTROLLER_CONF_REPORT | 0x03 | supporting | controlling | -
Schedule Command Class | Schedule Supported Get | SCHEDULE_SUPPORTED_GET | 0x01 | controlling | supporting | -
| Schedule Supported Report | SCHEDULE_SUPPORTED_REPORT | 0x02 | supporting | controlling | -
| Schedule Set | SCHEDULE_SET | 0x03 | controlling | supporting | -
| Schedule Get | SCHEDULE_GET | 0x04 | controlling | supporting | -
| Schedule Report | SCHEDULE_REPORT | 0x05 | supporting | controlling | -
| Schedule Remove | SCHEDULE_REMOVE | 0x06 | controlling | supporting | -
| Schedule State Set | SCHEDULE_STATE_SET | 0x07 | controlling | supporting | -
| Schedule State Get | SCHEDULE_STATE_GET | 0x08 | controlling | supporting | -
| Schedule State Report | SCHEDULE_STATE_REPORT | 0x09 | supporting | controlling | -
| Schedule Supported Commands Get | SCHEDULE_SUPPORTED_COMMANDS_GET | 0x0A | controlling | supporting | -
| Schedule Supported Commands Report | SCHEDULE_SUPPORTED_COMMANDS_REPORT | 0x0B | supporting | controlling | -
Schedule Entry Lock Command Class | Schedule Entry Lock Enable Set | SCHEDULE_ENTRY_LOCK_ENABLE_SET | 0x01 | controlling | supporting | -
| Schedule Entry Lock Enable All Set | SCHEDULE_ENTRY_LOCK_ENABLE_ALL_SET | 0x02 | controlling | supporting | -
| Schedule Entry Lock Week Day Schedule Set | SCHEDULE_ENTRY_LOCK_WEEK_DAY_SET | 0x03 | controlling | supporting | -
| Schedule Entry Lock Week Days Schedule Get | SCHEDULE_ENTRY_LOCK_WEEK_DAY_GET | 0x04 | controlling | supporting | -
| Schedule Entry Lock Week Day Schedule Report | SCHEDULE_ENTRY_LOCK_WEEK_DAY_REPORT | 0x05 | supporting | controlling | -
| Schedule Entry Lock Year Day Schedule Set | SCHEDULE_ENTRY_LOCK_YEAR_DAY_SET | 0x06 | controlling | supporting | -
| Schedule Entry Lock Year Day Schedule Get | SCHEDULE_ENTRY_LOCK_YEAR_DAY_GET | 0x07 | controlling | supporting | -
| Schedule Entry Lock Year Day Schedule Report | SCHEDULE_ENTRY_LOCK_YEAR_DAY_REPORT | 0x08 | supporting | controlling | -
| Schedule Entry Lock Supported Get | SCHEDULE_ENTRY_TYPE_SUPPORTED_GET | 0x09 | controlling | supporting | -
| Schedule Entry Lock Supported Report | SCHEDULE_ENTRY_TYPE_SUPPORTED_REPORT | 0x0A | supporting | controlling | -
| Schedule Entry Lock Time Offset Get | SCHEDULE_ENTRY_LOCK_TIME_OFFSET_GET | 0x0B | controlling | supporting | -
| Schedule Entry Lock Time Offset Report | SCHEDULE_ENTRY_LOCK_TIME_OFFSET_REPORT | 0x0C | supporting | controlling | -
| Schedule Entry Lock Time Offset Set | SCHEDULE_ENTRY_LOCK_TIME_OFFSET_SET | 0x0D | controlling | supporting | -
| Schedule Entry Lock Daily Repeating Get | SCHEDULE_ENTRY_LOCK_DAILY_REPEATING_GET | 0x0E | controlling | supporting | -
| Schedule Entry Lock Daily Repeating Report | SCHEDULE_ENTRY_LOCK_DAILY_REPEATING_REPORT | 0x0F | supporting | controlling | -
| Schedule Entry Lock Daily Repeating Set | SCHEDULE_ENTRY_LOCK_DAILY_REPEATING_SET | 0x10 | controlling | supporting | -
Screen Attributes Command Class | Screen Attributes Get | SCREEN_ATTRIBUTES_GET | 0x01 | controlling | supporting | -
| Screen Attributes Report | SCREEN_ATTRIBUTES_REPORT | 0x02 | supporting | controlling | -
Screen Meta Data Command Class | Screen Meta Data Get | SCREEN_MD_GET | 0x01 | controlling | supporting | -
| Screen Meta Data Report | SCREEN_MD_REPORT | 0x02 | supporting | controlling | -
Security 0 Command Class | Security Commands Supported Get | SECURITY_COMMANDS_SUPPORTED_GET | 0x02 | controlling | supporting | -
| Security Commands Supported Report | SECURITY_COMMANDS_SUPPORTED_REPORT | 0x03 | supporting | controlling | -
| Security Scheme Get | SECURITY_SCHEME_GET | 0x04 | controlling | supporting | -
| Security Scheme Report | SECURITY_SCHEME_REPORT | 0x05 | supporting | controlling | -
| Network Key Set | NETWORK_KEY_SET | 0x06 | controlling | supporting | -
| Network Key Verify | NETWORK_KEY_VERIFY | 0x07 | supporting | controlling | -
| Security Scheme Inherit | SECURITY_SCHEME_INHERIT | 0x08 | controlling | supporting | -
| Nonce Challenge Request | SECURITY_NONCE_GET | 0x40 | supporting | supporting | Both supporting
| Nonce Challenge Response | SECURITY_NONCE_REPORT | 0x80 | supporting | supporting | Both supporting
| Security Message Encapsulation | SECURITY_MESSAGE_ENCAPSULATION | 0x81 | supporting | supporting | Both supporting
| Security Message Encapsulation | SECURITY_MESSAGE_ENCAPSULATION_NONCE_GET | 0xC1 | supporting | supporting | Both supporting
Security 2 Command Class | Security 2 Nonce Get | SECURITY_2_NONCE_GET | 0x01 | controlling | supporting | -
| Security 2 Nonce Report | SECURITY_2_NONCE_REPORT | 0x02 | supporting | controlling | -
| Security 2 Message Encapsulation | SECURITY_2_MESSAGE_ENCAPSULATION | 0x03 | supporting | supporting | -
| Security 2 KEX Get | KEX_GET | 0x04 | controlling | supporting | -
| Security 2 KEX Report | KEX_REPORT | 0x05 | supporting | controlling | -
| Security 2 KEX Set | KEX_SET | 0x06 | controlling | supporting | -
| Security 2 KEX Fail | KEX_FAIL | 0x07 | supporting | supporting | Both supporting
| Security 2 Public Key Report | PUBLIC_KEY_REPORT | 0x08 | supporting | supporting | Both supporting
| Security 2 Network Key Get | SECURITY_2_NETWORK_KEY_GET | 0x09 | supporting | controlling | -
| Security 2 Network Key Report | SECURITY_2_NETWORK_KEY_REPORT | 0x0A | controlling | supporting | -
| Security 2 Network Key Verify | SECURITY_2_NETWORK_KEY_VERIFY | 0x0B | supporting | controlling | -
| Security 2 Transfer End | SECURITY_2_TRANSFER_END | 0x0C | supporting | supporting | Both supporting
| Security 2 Commands Supported Get | SECURITY_2_COMMANDS_SUPPORTED_GET | 0x0D | controlling | supporting | -
| Security 2 Commands Supported Report | SECURITY_2_COMMANDS_SUPPORTED_REPORT | 0x0E | supporting | controlling | -
Sensor Configuration Command Class | Sensor Trigger Level Set | SENSOR_TRIGGER_LEVEL_SET | 0x01 | controlling | supporting | -
| Sensor Trigger Level Get | SENSOR_TRIGGER_LEVEL_GET | 0x02 | controlling | supporting | -
| Sensor Trigger Level Report | SENSOR_TRIGGER_LEVEL_REPORT | 0x03 | supporting | controlling | -
Simple AV Control Command Class | Simple AV Control Set | SIMPLE_AV_CONTROL_SET | 0x01 | controlling | supporting | -
| Simple AV Control Get | SIMPLE_AV_CONTROL_GET | 0x02 | controlling | supporting | -
| Simple AV Control Report | SIMPLE_AV_CONTROL_REPORT | 0x03 | supporting | controlling | -
| Simple AV Control Supported Get | SIMPLE_AV_CONTROL_SUPPORTED_GET | 0x04 | controlling | supporting | -
| Simple AV Control Supported Report | SIMPLE_AV_CONTROL_SUPPORTED_REPORT | 0x05 | supporting | controlling | -
Sound Switch Command Class | Sound Switch Tones Number Get | SOUND_SWITCH_TONES_NUMBER_GET | 0x01 | controlling | supporting | -
| Sound Switch Tones Number Report | SOUND_SWITCH_TONES_NUMBER_REPORT | 0x02 | supporting | controlling | -
| Sound Switch Tone Info Get | SOUND_SWITCH_TONE_INFO_GET | 0x03 | controlling | supporting | -
| Sound Switch Tone Info Report | SOUND_SWITCH_TONE_INFO_REPORT | 0x04 | supporting | controlling | -
| Sound Switch Configuration Set | SOUND_SWITCH_CONFIGURATION_SET | 0x05 | controlling | supporting | -
| Sound Switch Configuration Get | SOUND_SWITCH_CONFIGURATION_GET | 0x06 | controlling | supporting | -
| Sound Switch Configuration Report | SOUND_SWITCH_CONFIGURATION_REPORT | 0x07 | supporting | controlling | -
| Sound Switch Tone Play Set | SOUND_SWITCH_TONE_PLAY_SET | 0x08 | controlling | supporting | -
| Sound Switch Tone Play Get | SOUND_SWITCH_TONE_PLAY_GET | 0x09 | controlling | supporting | -
| Sound Switch Tone Play Report | SOUND_SWITCH_TONE_PLAY_REPORT | 0x0A | supporting | controlling | -
Supervision Command Class | Supervision Get | SUPERVISION_GET | 0x01 | controlling | supporting | -
| Supervision Report | SUPERVISION_REPORT | 0x02 | supporting | controlling | -
Tariff Table Configuration Command Class | Tariff Table Supplier Set | TARIFF_TBL_SUPPLIER_SET | 0x01 | controlling | supporting | -
| Tariff Table Set | TARIFF_TBL_SET | 0x02 | controlling | supporting | -
| Tariff Table Remove | TARIFF_TBL_REMOVE | 0x03 | controlling | supporting | -
Tariff Table Monitor Command Class | Tariff Table Supplier Get | TARIFF_TBL_SUPPLIER_GET | 0x01 | controlling | supporting | -
| Tariff Table Supplier Report | TARIFF_TBL_SUPPLIER_REPORT | 0x02 | supporting | controlling | -
| Tariff Table Get | TARIFF_TBL_GET | 0x03 | controlling | supporting | -
| Tariff Table Report | TARIFF_TBL_REPORT | 0x04 | supporting | controlling | -
| Tariff Table Cost Get | TARIFF_TBL_COST_GET | 0x05 | controlling | supporting | -
| Tariff Table Cost Report | TARIFF_TBL_COST_REPORT | 0x06 | supporting | controlling | -
Thermostat Fan Mode Command Class | Thermostat Fan Mode Set | THERMOSTAT_FAN_MODE_SET | 0x01 | controlling | supporting | -
| Thermostat Fan Mode Get | THERMOSTAT_FAN_MODE_GET | 0x02 | controlling | supporting | -
| Thermostat Fan Mode Report | THERMOSTAT_FAN_MODE_REPORT | 0x03 | supporting | controlling | -
| Thermostat Fan Mode Supported Get | THERMOSTAT_FAN_MODE_SUPPORTED_GET | 0x04 | controlling | supporting | -
| Thermostat Fan Mode Supported Report | THERMOSTAT_FAN_MODE_SUPPORTED_REPORT | 0x05 | supporting | controlling | -
Thermostat Fan State Command Class | Thermostat Fan State Get | THERMOSTAT_FAN_STATE_GET | 0x02 | controlling | supporting | -
| Thermostat Fan State Report | THERMOSTAT_FAN_STATE_REPORT | 0x03 | supporting | controlling | -
Thermostat Mode Command Class | Thermostat Mode Set | THERMOSTAT_MODE_SET | 0x01 | controlling | supporting | -
| Thermostat Mode Get | THERMOSTAT_MODE_GET | 0x02 | controlling | supporting | -
| Thermostat Mode Report | THERMOSTAT_MODE_REPORT | 0x03 | supporting | controlling | -
| Thermostat Mode Supported Get | THERMOSTAT_MODE_SUPPORTED_GET | 0x04 | controlling | supporting | -
| Thermostat Mode Supported Report | THERMOSTAT_MODE_SUPPORTED_REPORT | 0x05 | supporting | controlling | -
Thermostat Operating State Command Class | Thermostat Operating State Get | THERMOSTAT_OPERATING_STATE_GET | 0x02 | controlling | supporting | -
| Thermostat Operating State Report | THERMOSTAT_OPERATING_STATE_REPORT | 0x03 | supporting | controlling | -
| Thermostat Operating State Logging Supported Get | THERMOSTAT_OPERATING_STATE_LOGGING_SUPPORTED_GET | 0x01 | controlling | supporting | -
| Thermostat Operating State Logging Supported Report | THERMOSTAT_OPERATING_LOGGING_SUPPORTED_REPORT | 0x04 | supporting | controlling | -
| Thermostat Operating State Logging Get | THERMOSTAT_OPERATING_STATE_LOGGING_GET | 0x05 | controlling | supporting | -
| Thermostat Operating State Logging Report | THERMOSTAT_OPERATING_STATE_LOGGING_REPORT | 0x06 | supporting | controlling | -
Thermostat Setback Command Class | Thermostat Setback Set | THERMOSTAT_SETBACK_SET | 0x01 | controlling | supporting | -
| Thermostat Setback Get | THERMOSTAT_SETBACK_GET | 0x02 | controlling | supporting | -
| Thermostat Setback Report | THERMOSTAT_SETBACK_REPORT | 0x03 | supporting | controlling | -
Thermostat Setpoint Command Class | Thermostat Setpoint Set | THERMOSTAT_SETPOINT_SET | 0x01 | controlling | supporting | -
| Thermostat Setpoint Get | THERMOSTAT_SETPOINT_GET | 0x02 | controlling | supporting | -
| Thermostat Setpoint Report | THERMOSTAT_SETPOINT_REPORT | 0x03 | supporting | controlling | -
| Thermostat Setpoint Supported Get | THERMOSTAT_SETPOINT_SUPPORTED_GET | 0x04 | controlling | supporting | -
| Thermostat Setpoint Supported Report | THERMOSTAT_SETPOINT_SUPPORTED_REPORT | 0x05 | supporting | controlling | -
| Thermostat Setpoint Capabilities Get | THERMOSTAT_SETPOINT_CAPABILITIES_GET | 0x09 | controlling | supporting | -
| Thermostat Setpoint Capabilities Report | THERMOSTAT_SETPOINT_CAPABILITIES_REPORT | 0x0A | supporting | controlling | -
Time Command Class | Time Get | TIME_GET | 0x01 | controlling | supporting | -
| Time Report | TIME_REPORT | 0x02 | supporting | controlling | -
| Date Get | DATE_GET | 0x03 | controlling | supporting | -
| Date Report | DATE_REPORT | 0x04 | supporting | controlling | -
| Time Offset Set | TIME_OFFSET_SET | 0x05 | controlling | supporting | -
| Time Offset Get | TIME_OFFSET_GET | 0x06 | controlling | supporting | -
| Time Offset Report | TIME_OFFSET_REPORT | 0x07 | supporting | controlling | -
Time Parameters Command Class | Time Parameters Set | TIME_PARAMETERS_SET | 0x01 | controlling | supporting | -
| Time Parameters Get | TIME_PARAMETERS_GET | 0x02 | controlling | supporting | -
| Time Parameters Report | TIME_PARAMETERS_REPORT | 0x03 | supporting | controlling | -
Transport Service Command Class | First Segment | COMMAND_FIRST_FRAGMENT | 0xC0 | controlling | supporting | -
| Segment Complete | COMMAND_FRAGMENT_COMPLETE | 0xE8 | supporting | controlling | -
| Segment Request | COMMAND_FRAGMENT_REQUEST | 0xC8 | supporting | controlling | -
| Segment Wait | COMMAND_FRAGMENT_WAIT | 0xF0 | supporting | controlling | -
| Subsequent segment | COMMAND_SUBSEQUENT_FRAGMENT | 0xE0 | controlling | supporting | -
User Code Command Class | User Code Set | USER_CODE_SET | 0x01 | controlling | supporting | -
| User Code Get | USER_CODE_GET | 0x02 | controlling | supporting | -
| User Code Report | USER_CODE_REPORT | 0x03 | supporting | controlling | -
| Users Number Get | USERS_NUMBER_GET | 0x04 | controlling | supporting | -
| Users Number Report | USERS_NUMBER_REPORT | 0x05 | supporting | controlling | -
| User Code Capabilities Get | USER_CODE_CAPABILITIES_GET | 0x06 | controlling | supporting | -
| User Code Capabilities Report | USER_CODE_CAPABILITIES_REPORT | 0x07 | supporting | controlling | -
| User Code Keypad Mode Set | USER_CODE_KEYPAD_MODE_SET | 0x08 | controlling | supporting | -
| User Code Keypad Mode Get | USER_CODE_KEYPAD_MODE_GET | 0x09 | controlling | supporting | -
| User Code Keypad Mode Report | USER_CODE_KEYPAD_MODE_REPORT | 0x0A | supporting | controlling | -
| Extended User Code Set | EXTENDED_USER_CODE_SET | 0x0B | controlling | supporting | -
| Extended User Code Get | EXTENDED_USER_CODE_GET | 0x0C | controlling | supporting | -
| Extended User Code Report | EXTENDED_USER_CODE_REPORT | 0x0D | supporting | controlling | -
| Admin Code Set | ADMIN_CODE_SET | 0x0E | controlling | supporting
| Admin Code Get | ADMIN_CODE_GET | 0x0F | controlling | supporting
| Admin Code Report | ADMIN_CODE_REPORT | 0x10 | supporting | controlling
| User Code Checksum Get | USER_CODE_CHECKSUM_GET | 0x11 | controlling | supporting | -
| User Code Checksum Report | USER_CODE_CHECKSUM_REPORT | 0x12 | supporting | controlling | -
Version Command Class | Version Get | VERSION_GET | 0x11 | controlling | supporting | -
| Version Report | VERSION_REPORT | 0x12 | supporting | controlling | -
| Version Command Class Get | VERSION_COMMAND_CLASS_GET | 0x13 | controlling | supporting | -
| Version Command Class Report | VERSION_COMMAND_CLASS_REPORT | 0x14 | supporting | controlling | -
| Version Capabilities Get | VERSION_CAPABILITIES_GET | 0x15 | controlling | supporting | -
| Version Capabilities Report | VERSION_CAPABILITIES_REPORT | 0x16 | supporting | controlling | -
| Version Z-Wave Software Get | VERSION_ZWAVE_SOFTWARE_GET | 0x17 | controlling | supporting | -
| Version Z-Wave Software Report | VERSION_ZWAVE_SOFTWARE_REPORT | 0x18 | supporting | controlling | -
Wake Up Command Class | Wake Up Interval Set | WAKE_UP_INTERVAL_SET | 0x04 | controlling | supporting | -
| Wake Up Interval Get | WAKE_UP_INTERVAL_GET | 0x05 | controlling | supporting | -
| Wake Up Interval Report | WAKE_UP_INTERVAL_REPORT | 0x06 | supporting | controlling | -
| Wake Up Notification | WAKE_UP_NOTIFICATION | 0x07 | supporting | controlling | -
| Wake Up No More Information | WAKE_UP_NO_MORE_INFORMATION | 0x08 | controlling | supporting | -
| Wake Up Interval Capabilities Get | WAKE_UP_INTERVAL_CAPABILITIES_GET | 0x09 | controlling | supporting | -
| Wake Up Interval Capabilities Report | WAKE_UP_INTERVAL_CAPABILITIES_REPORT | 0x0A | supporting | controlling | -
Window Covering Command Class | Window Covering Supported Get | WINDOW_COVERING_SUPPORTED_GET | 0x01 | controlling | supporting | -
| Window Covering Supported Report | WINDOW_COVERING_SUPPORTED_REPORT | 0x02 | supporting | controlling | -
| Window Covering Get | WINDOW_COVERING_GET | 0x03 | controlling | supporting | -
| Window Covering Report | WINDOW_COVERING_REPORT | 0x04 | supporting | controlling | -
| Window Covering Set | WINDOW_COVERING_SET | 0x05 | controlling | supporting | -
| Window Covering Start Level Change | WINDOW_COVERING_START_LEVEL_CHANGE | 0x06 | controlling | supporting | -
| Window Covering Stop Level Change | WINDOW_COVERING_STOP_LEVEL_CHANGE | 0x07 | controlling | supporting | -
Z/IP Command Class | Z/IP Packet | COMMAND_ZIP_PACKET | 0x02 | controlling | supporting | -
| Z/IP Keep Alive | COMMAND_ZIP_KEEP_ALIVE | 0x03 | controlling | supporting | -
Z/IP Gateway Command Class | Gateway Mode Set | GATEWAY_MODE_SET | 0x01 | controlling | supporting | -
| Gateway Mode Get | GATEWAY_MODE_GET | 0x02 | controlling | supporting | -
| Gateway Mode Report | GATEWAY_MODE_REPORT | 0x03 | supporting | controlling | -
| Gateway Peer Set | GATEWAY_PEER_SET | 0x04 | controlling | supporting | -
| Gateway Peer Get | GATEWAY_PEER_GET | 0x05 | controlling | supporting | -
| Gateway Peer Report | GATEWAY_PEER_REPORT | 0x06 | supporting | controlling | -
| Gateway Lock Set | GATEWAY_LOCK_SET | 0x07 | controlling | supporting | -
| Unsolicited Destination Set | UNSOLICITED_DESTINATION_SET | 0x08 | controlling | supporting | -
| Unsolicited Destination Get | UNSOLICITED_DESTINATION_GET | 0x09 | controlling | supporting | -
| Unsolicited Destination Report | UNSOLICITED_DESTINATION_REPORT | 0x0A | supporting | controlling | -
| Application Node Info Set | COMMAND_APPLICATION_NODE_INFO_SET | 0x0B | controlling | supporting | -
| Application Node Info Get | COMMAND_APPLICATION_NODE_INFO_GET | 0x0C | controlling | supporting | -
| Application Node Info Report | COMMAND_APPLICATION_NODE_INFO_REPORT | 0x0D | supporting | controlling | -
Z/IP Naming and Location Command Class | Z/IP Name Set | ZIP_NAMING_NAME_SET | 0x01 | controlling | supporting | -
| Z/IP Name Get | ZIP_NAMING_NAME_GET | 0x02 | controlling | supporting | -
| Z/IP Name Report | ZIP_NAMING_NAME_REPORT | 0x03 | supporting | controlling | -
| Z/IP Location Set | ZIP_NAMING_LOCATION_SET | 0x04 | controlling | supporting | -
| Z/IP Location Get | ZIP_NAMING_LOCATION_GET | 0x05 | controlling | supporting | -
| Z/IP Location Report | ZIP_NAMING_LOCATION_REPORT | 0x06 | supporting | controlling | -
Z/IP ND Command Class | Z/IP Node Advertisement | ZIP_NODE_ADVERTISEMENT | 0x01 | supporting | controlling | -
| Z/IP Node Solicitation | ZIP_NODE_SOLICITATION | 0x03 | controlling | supporting | -
| Z/IP Inverse Node Solicitation | ZIP_INV_NODE_SOLICITATION | 0x04 | controlling | supporting | -
Z/IP Portal Command Class | Gateway Configuration Set | GATEWAY_CONFIGURATION_SET | 0x01 | controlling | supporting | -
| Gateway Configuration Status | GATEWAY_CONFIGURATION_STATUS | 0x02 | supporting | controlling | -
| Gateway Configuration Get | GATEWAY_CONFIGURATION_GET | 0x03 | controlling | supporting | -
| Gateway Configuration Report | GATEWAY_CONFIGURATION_REPORT | 0x04 | supporting | controlling | -
Z-Wave Plus Info Command Class | Z-Wave Plus Info Get | ZWAVEPLUS_INFO_GET | 0x01 | controlling | supporting | -
| Z-Wave Plus Info Report | ZWAVEPLUS_INFO_REPORT | 0x02 | supporting | controlling | -